SAMPLE FIRESTOP SCHEDULE

| Project No: | Contractor Name and Address: | Date Submitted: |
| --- | --- | --- |
| Project Title: | Supplier/Installer Name and Address: | Company Field Advisor Name and Address: |
|  | Manufacturer Name and Address: |  |

Method of Protection for through-penetration in fire-resistance rated construction.

| Manufacturer's Product Reference Numbers and/or Drawing Numbers | U.L., FM, Wamock Hersey or Omega Point Lab Penetration Design Nos. | Penetrating Item Description: Material, Size, Insulated, Combustible | Maximum Allowable Annular Space or Maximum Size Opening | Wall type Construction |  | Floor Type Construction | Fire Resistance Rating of Wall or Floor (Hourly) | F Rating | T Rating (floors Only) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | DES. | CONST. |  |  |  |  |
| Example No. 1 DCFSS-130 | UL #130 | Maximum 4" Steel Pipe Non-Insulated |  | P4 | 6" CMU | N.A. | 1 Hour | 1 Hour | N.A. |
| Example No. 2 5300-ICF88.01 | UL #591 | Maximum 4" PVC Pipe |  | N.A. | N.A. | UL # D916 | 3 Hour | 1 Hour | 2 Hour |