REFER TO CHAPTER 9 OF THE SPECIFICATIONS WRITER'S HANDBOOK.  REPLACE * WITH PROPER NUMBER FOR CORRECT SEQUENCE.

1.0*	UNIT PRICES FOR ADDED OR DEDUCTED WORK

A.	Do not exceed the quantities of Work indicated by numeric units on the Drawings, except by Order on Contract.  In order to avoid delay, notify the Director's Representative when the amount of completed Work approaches the quantity indicated.

B.	If the installed quantity of Work is greater than the numeric units of Work indicated on the Drawings, the contract sum will be adjusted by an Order on Contract.  If the installed quantity of Work is less than the numeric units of Work indicated on the Drawings, the contract sum will be adjusted via a Supplemental Agreement (BDC 134) at the time of substantial completion payment.  Reduction will be taken on Schedule 5 and reflected in the contract amount earned-Schedule 2.  Unit prices will be adjusted as follows:

INSERT DESCRIPTION OF WORK REQUIRED AFTER 1. AND 2.  INSERT "ADDED" LANGUAGE AFTER a. AND "DEDUCTED" LANGUAGE AFTER b.

1.

a.

b.

2.

a.

b.

C.	The foregoing unit prices include overhead, profit, and all other expenses incidental to the Work.  Include in the bid sum all additional costs in connection with quantity changes that are not compensated for at the given unit prices.

D.	Quantities of Work shown on the Drawing in numeric units are in addition to any other similar Work required under the Contract.  Unit prices for additions and deductions are applicable only to the quantities of Work indicated in numeric units.

E.	If the total amount of a change exceeds 20 percent of a quantity indicated on the Drawings, the adjustment of the contract sum for the quantity in excess of 20 percent will be made in accordance with the General Conditions.