SECTION 075002

MECHANICALLY ATTACHED HYPALON ROOFING SYSTEM

DO NOT USE THIS SECTION WHEN SLOPE OF DECK EXCEEDS 2 INCHES PER FT.

PART 1   GENERAL

USE ARTICLE BELOW WITH HYPALON COATED METAL ONLY.

1.01	PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION

A.	Hypalon Coated Metal:  Installed under Section 076000.

1.02	RELATED WORK SPECIFIED ELSEWHERE

A.	Restricted Work Period:  Section 011000.

B.	Wood Nailers and Blocking:  Section 061053.

C.	Flashing and Trim:  Section 076000.

1.03	SYSTEM DESCRIPTION

A.	Mechanically Attached System:  Rigid insulation and hypalon sheet membrane mechanically attached to the structural deck.

1.04	DEFINITIONS

THE DEFINITION BELOW SUPERSEDES THE DEFINITION IN SECTION 014216 FOR COMPANY FIELD ADVISOR.

A.	Company Field Advisor; An individual meeting the requirements of either subparagraph below:

1.	An employee of the company producing or manufacturing the system (or the company which lists and markets the primary components of the system under their name) who is certified in writing by the company to be technically qualified in design, installation, and servicing of the required products, and has experience in the installation of the required products.  Personnel involved solely in sales do not qualify.

2.	An individual employed by an organization (other than the company producing or manufacturing the system), certified in writing by the company producing or manufacturing the system, that the individual is technically qualified in design, installation and servicing of the required products and is capable to act as company field advisor in their behalf, and has experience in the installation of the required products.  Personnel involved solely in sales do not qualify.

1.05	SUBMITTALS

A.	Waiver of Submittals:  The “Waiver of Certain Submittal Requirements” in Section 013300 does not apply to this Section.

B.	Submittals Package:  Submit the shop drawings, product data, samples, and quality control submittals specified below at the same time as a package.

USE BELOW WITH TAPERED INSULATION ONLY.

C.	Shop Drawings:

1.	Submit an accurate layout of the tapered insulation showing the slopes to the drains.  Show cross section drawings illustrating the location and thickness of tapered insulation pieces and filler pieces.  Show thickness of the insulation of high and low points.

D.	Product Data:

1.	Catalog sheets, specifications, and installation instructions for each material specified.

2.	Revise the membrane manufacturer’s product data as necessary to suit the requirements of the Contract Documents.  Manufacturer’s details are not to be used for the Work of this contract.

3.	When there is a proposed deviation from the contract Documents, submit the revised detail, labeled as such for approval.  The revised detail shall show existing conditions and shall be referenced directly to the related details on the Contract Drawings.

4.	Manufacturer’s Warranty Sample:  Sample copy of the membrane manufacturer’s 10 year warranty covering workmanship and materials.

E.	Samples:

1.	Sheet Membrane:  One 6 inch sq piece.

2.	Sheet Flashing:  One 6 inch sq piece.

3.	Coated Metal Flashing: One each 6 inch piece of each type.

4.	Insulation:  One 6 inch sq piece.

5.	Fasteners:  Two, each type.

6.	Welded Seam as required under Quality Assurance Article:  Two 12 inch sq samples of welded seams which are representative of the quality of field welded seams.

a.	Samples must be labeled “Quality Standard Samples”.

F.	Quality Control Submittals:

1.	Fire Hazard Certification:  Submit written certification that the roof system, including the specific insulation, has been tested in conjunction with the type of structural roof deck and roof slope applicable to the project and has achieved an Underwriters Laboratories Class A or B external fire resistance rating.

a.	Acceptable Certification:  Letter from Underwriters Laboratories, or a copy of the Underwriters Laboratories classification listing for the roofing system.

2.	Material Certification:  Letter from the roofing membrane manufacturer certifying that the insulation and insulation fasteners are approved for use with the roofing system.

3.	Applicator’s Certification:

a.	Letter from the membrane manufacturer certifying that the applicator is licensed or approved to install the roof system.

b.	Names, address, and telephone numbers of 3 buildings where the applicator has installed hypalon sheet membrane roof systems which have had the manufacturer’s warranty issued.  Include the membrane manufacturer’s name and the warranty number.

c.	Letter certifying that the crew chief and at least one other member of the roofing crew have installed at least 3 hypalon sheet membrane roof systems and are thoroughly familiar with all aspects of the installation.

4.	Manufacturer Qualifications Data:  As required under the Quality Assurance Article.

1.06	QUALITY ASSURANCE

A.	Membrane Manufacturer’s Qualifications:

1.	The manufacturer shall have the technical expertise and qualified technical representatives to quickly resolve questions or problems which may arise both during and after the Work is completed.

2.	The manufacturer shall have been actively marketing a mechanically attached Hypalon roof system in the United States for a minimum of 5 years.

3.	The manufacturer shall provide the names, addresses, and telephone numbers of at least 10 previous projects of comparable size, scope, and complexity as the Work of this Section.

4.	The manufacturer shall require that the roof system be installed by a licensed or approved applicator.

B.	Applicator’s Qualifications:  The application of the roofing system shall be performed by an applicator licensed or approved by the membrane manufacturer.  The licensed or approved applicator shall have previously installed at least 3 hypalon sheet membrane systems for which the manufacturer’s warranty was issued.

1.	Workers:  The crew chief or foreman and at least one other member of the roofing crew shall have installed at least 3 hypalon sheet membrane roof systems and shall be thoroughly familiar with all aspects of the installation.

C.	Welded Seams (Splicing) Standards:  Job site, and factory welded seams (if any) must be of the same quality and exhibit the same physical characteristics as the quality standard samples which are submitted for approval.  The approved samples will be the standard of quality required for all welded seams.  Failure to maintain the standard will be cause for rejection of the Work.

1.	The approved samples must exhibit the following minimum physical characteristics:

a.	The welded seams must be at least as strong as the parent material.  The mating surfaces of each sheet must remain fully bonded to each other when sufficient peel or shear force is applied to the seam to delaminate or break the parent material.

b.	The welded seam must extend a minimum of one inch into the reinforced area of the sheet.

c.	There must be complete fusion of the mating surfaces, with no skips, voids, or fishmouths.

D.	Fire Hazard Classification:  The sheet membrane roof system shall have an Underwriters Laboratories Class A or B External Fire Resistance rating; as determined by tests conducted in conformity with UL-790 (ASTM E 108).

1.	The roof system, which includes a specific generic type of insulation and in some instances a specific name brand insulation, shall have been tested in conjunction with the type of structural roof deck and roof slope applicable to this project.

E.	Pre-Installation Conference:  Before the roofing Work is scheduled to commence, a conference will be called by the Director’s Representative at the site for the purpose of reviewing the Drawings and the Specifications and discussing requirements for the Work.  The conference shall be attended by the Contractor, the authorized roofing applicator, and the Company Field Advisor.

QUESTIONS REGARDING THE USE OF THE ARTICLE BELOW SHOULD BE DIRECTED TO THE BUSINESS UNIT’S ROOFING QIT REPRESENTATIVE.

1.08	ROOFING MANUFACTURER’S COMPANY FIELD ADVISOR

A.	The manufacturer of the roofing system, issuing the final system guarantee on this roofing project, must supply a Company Field Advisor, as a technical representative, with the following minimum qualifications:

1.	Documentation of 5 years of field experience on the same type of roofing system.

2.	Documentation of 10 projects where role was a Company Field Advisor; include contact names and phone numbers for each project.

3.	Documentation of attendance at a roof specific instructional seminar within the last two years.

IT IS MANDATORY TO DISCUSS THE USE OF THE PARAGRAPH BELOW WITH THE CLIENT, THE DIVISION OF CONSTRUCTION, AND PERHAPS THE SPECIFIED MANUFACTURERS, AT PROJECT INCEPTION, PARTICULARLY ON DOWNSTATE PROJECTS.  THERE IS A FEE ASSOCIATED WITH THE NUMBER OF HOURS FOR A FIELD ADVISOR TO BE ON A PROJECT.  INCLUDE THIS ADDITIONAL COST IN THE PROJECT ESTIMATE BEGINNING WITH THE PROGRAM ESTIMATE.

EDIT NUMBER OF DAYS AND HOURS BELOW DEPENDING ON SIZE AND COMPLEXITY OF PROJECT.  SIX DAYS AT 4 HOURS PER DAY COULD WORK AS A MINIMUM FOR A SIMPLER PROJECT.  SIX DAYS OR MORE, AT MORE THAN 4 HOURS PER DAY COULD WORK FOR A LARGER, MORE COMPLEX PROJECT.

B.	Secure the services of the Company Field Advisor for a minimum of _______ days at a minimum of _________ hours per day to inspect the workmanship of the roofing system installer.

C.	Company Field Advisor Duties and Responsibilities:

1.	Become familiar with the Contract Documents and approved submittals prior to the pre-roofing conference.

2.	Attend the pre-roofing conference and the beginning of the actual membrane installation for the purpose of:

a.	Rendering technical assistance to the Contractor regarding installation procedures of the system.

b.	Familiarizing the Director’s Representative with all aspects of the system including inspection techniques.

c.	Answering questions that might arise.

EDIT REMAINING SUBPARAGRAPHS BELOW TO SUIT PROJECT COMPLEXITY AND NEED.  DISCUSS APPROPRIATENESS OF SUBPARAGRAPHS WITH DESIGN PROJECT MANAGER AND THE DIVISION OF CONSTRUCTION.

3.	Attend each bi-weekly meeting.

4.	Be objective, unbiased and impartial in each inspection, recommendation, conversation, action and written report.

a.	Inspect and approve the existing substrate, flashing, blocking, and related materials as being acceptable for the installation of the roofing system.

b.	Ensure proper fastening patterns and fastener sizes of wood blocking, insulation, edge flashing, and related components.

5.	Immediately report non-compliant conditions, if any, to the Director’s Representative.

6.	Provide to the Director’s Representative a written report, submitted prior to leaving the Project Site each day the Company Field Advisor is present.  Each daily written report shall contain at a minimum:

a.	Date of report and inspection.

b.	Weather conditions at the start, middle, and end of the work day.

c.	Work performed including Contractor activity, contractor crew size, supervisor’s name, area of activity, and progress and quality of the work as observed.

d.	Discussions with Contractor regarding work anomalies and resolution.

e.	Conditions that are not in compliance with the Contract documents.

1)	Continue documenting non-compliance issues in subsequent reports until the issue has been resolved.  Document resolution of non-compliance issues when resolved.

7.	Report to the Director’s Representative in writing failure or refusal of the Contractor to correct unacceptable practices called to the Contractor's attention.

8.	Confirm, after completion of the roofing work and based on the Company Field Advisor’s inspections and tests, that the Company Field Advisor has observed no applications procedures in conflict with the specifications other than those that may have been previously reported and corrected.

1.08	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to the site in the manufacturer’s labeled, unbroken containers.

B.	Storage and Handling:  Store materials in a dry, well ventilated place protected from the weather.

1.	Volatile liquids shall be stored in a separate storage building or trailer, or removed from the site at the end of each work day.

a.	Store volatile liquids at temperatures recommended by the manufacturer.

2.	Do not store Hypalon membrane in sunlight.  Do not remove the sheet membrane from the factory packaging until ready for use.  Store the membrane in a cool place protected from exposure to sunlight.

3.	Store adhesives at temperatures between 60 degrees F and 80 degrees F.

1.09	PROJECT CONDITIONS

A.	Do not execute the Work of this Section unless the Director’s Representative is present or unless he directs that the Work be performed during his absence.

B.	Do not execute the Work of this Section unless the substrate is dry and free of dirt and debris.

C.	Moisture Protection:

1.	Cover, seal or otherwise protect the roof and flashings so that water cannot accumulate or flow under completed portions.  When and where necessary to accomplish this, provide temporary water cut-offs in accordance with the membrane manufacturer’s written specifications.

USE SUBPARAGRAPH BELOW ON REHABILITATION WORK ONLY.

2.	Limit the removal of existing materials to areas that can be completely re-roofed or temporarily protected within the same day. At the discretion of the Director’s Representative, a watertight built-up vapor barrier may be acceptable temporary protection for a maximum of 48 hours.

D.	Do not smoke or use open flames near volatile materials.

1.10	WARRANTY

A.	Warranty Extension:  The one year period required by Paragraph 9.8 of the General Conditions is extended to 2 years for the Work of this Section.  Refer to Supplementary Conditions.

INCLUDE 007306 SUPPLEMENTARY CONDITIONS - WARRANTY EXTENSION.

B.	Manufacturer’s Warranty:  In addition to the 2 year period specified above, furnish the membrane manufacturer’s printed 10 Year Full System Warranty, covering workmanship, materials, and wind related damage, for the Work of this Section.

1.	The warranty shall include, but not be limited to, repair of leakage and the repair and/or replacement of the roofing system as necessary to correct defects or damage caused by; materials, workmanship, or wind speeds less than 56 MPH.

a.	Materials shall include the membrane, insulation, fasteners, adhesives and tapes, sheet and metal flashings originally provided by the manufacturer, and all accessory products.

b.	Repair and/or replacement of the roofing system shall include the replacement of wet insulation.  For the purpose of this specification, insulation will be considered wet if either of the following exists:

1)	Free water is visible when the insulation is compressed.

2)	No free water is visible when the insulation is compressed, but the insulation is damp to the touch over a large enough area, as determined by the Director’s Representative, to jeopardize the integrity of the roof system and any of it’s components, or to significantly lower the specified R value of the insulation.

PART 2   PRODUCTS

2.01	HYPALON SHEET MEMBRANE AND RELATED PRODUCTS

A.	Hypalon Sheet Membrane:  Polyester reinforced, uncured hypalon sheet membrane (Chlorosulphonated Polyethylene).  The hypalon sheet membrane shall be visually free of streaks, particles of foreign matter, undispersed raw material, pinholes, cracks, and tears, and shall be uniform in thickness.  When unrolled, the membrane shall be free of wrinkles, distortions, and blisters.

1.	Thickness:  0.045 inch.

2.	Weight:  0.29 psf.

3.	Breaking Strength:  225 lb minimum ASTM D 751 (grab method).

4.	Tear Strength:  90 lb min, ASTM D 751 (tongue tear).

5.	Low Temperature Bend:  40 degrees C Pass ASTM D 2136.

6.	Shore A Hardness:  80 + 5, ASTM D 2240.

7.	Heat Aging:  Maintains 100 percent of original breaking strength.  Seven days at 200 degrees F ASTM D 753.

8.	Hydrostatic Resistance:  300 psi min, ASTM D 751 method A.

9.	Ozone Resistance:  3 PPM @ 30 percent strain @ 104 degrees F - 72 hrs and 2500 hrs.  ASTM D 1149.  No effect.

10.	Emmaqua Concentrated Natural Sunlight:  2 million langleys, ASTM E 838.  No visible surface crazing.  No stiffening.

11.	Dimensional Stability:  .1 percent.  24 hr @ 129 degrees F ASTM E 1204.

12.	Puncture Resistance:  200 lb min, FTM 191B method 2031.

B.	Hypalon Sheet Flashing:

1.	Reinforced:  Polyester reinforced, uncured Hypalon sheet flashing; same material as sheet membrane.

2.	Unreinforced:  Unreinforced, uncured Hypalon sheet flashing, minimum 0.045 inch thick.

DELETE BELOW IF HYPALON COATED METAL IS NOT USED.  IF USED, CROSS REFERENCE MATERIAL IN FLASHING AND TRIM SECTION.

C.	Hypalon Coated Metal:  Membrane manufacturer’s hypalon coated, 0.023 inch thick, G-90 galvanized steel sheet.

D.	Related Products:  Furnish the membrane manufacturer’s bonding adhesive, primer, seam caulk, water cutoff mastic, nite seal, and pourable sealer, and other related products required for the Work of this Section.

2.02	INSULATION

A.	The specified insulation thickness is nominal, allowing for differences in insulating properties of various name brands.  Minor variation in thickness is acceptable, provided the specified thermal value and all other requirements of this Contract are met.

B.	Approval of insulation is contingent upon approval by the membrane manufacturer for use with the specified roof system.

CHOOSE ONE OF THE FOLLOWING INSULATION TYPES.

C.	Rigid Insulation:  Closed cell isocyanurate foam core skinned on both sides with factory applied facers of the generic type recommended by the membrane manufacturer.  FS HH-1-1972, Class 1 or 2.  UL Classified.

USE BELOW ON STEEL DECKS.

1.	Factory Mutual Class 1 approved for direct application on steel decks.

2.	Aged R value determined in accordance with TIMA Technical Bulletin No. 281-1.

| NOMINAL THICKNESS (Inches) | MINIMUM AGED R-VALUE |
| --- | --- |
| 1.5 | R = 10.8 |
| 2.0 | R = 14.29 |
| 2.5 | R = 18.0 |
| 3.0 | R = 20.0 |
| 3.0 (Two 1-1/2 Layers) | R = 20.0 |

USE BELOW OVER UNHEATED BUILDINGS AS A BASE FOR ROOFING MEMBRANE.  USE 1-1/2 INCH ON STEEL DECKS.

D.	Rigid Insulation:  Perlite mineral board insulation; UL Classified.  ASTM C 728.

| NOMINAL THICKNESS (Inches) | MINIMUM R-VALUE |
| --- | --- |
| 1.0 | R = 2.78 |
| 1.5 | R = 4.17 |

E.	Tapered Insulation:  1/4 inch pitch per foot factory tapered and mitered closed cell isocyanurate foam core skinned on both sides with factory applied facers of the generic type recommended by the membrane manufacturer.  FS HH-1-1972/2, Class 1. UL Classified and Factory Mutual approved for direct application over steel decks.  One inch minimum thickness at drains and valleys unless shown otherwise on Contract Drawings.  Minimum R value 6.7 at one inch thickness.

CHANGE ABOVE TO 1/8 INCH PITCH PER FOOT IF SHOWN ON DRAWINGS.  DELETE BELOW IF NO CRICKETS SHOW ON DRAWINGS.

1.	Tapered Insulation Crickets:  1/2 inch pitch per foot factory tapered and mitered isocyanurate insulation cricket system.

USE ARTICLE BELOW ON WOOD DECKS ONLY.

2.03	INSULATION UNDERLAYMENT

A.	Underlayment:  Glass fiber paper 15 mils thick, “Manninglas 1200” by Manning Paper Company, P.O. Box 328, Troy, NY  12181.

1.	Delete insulation underlayment if it is not required by the membrane manufacturer to achieve the specified fire hazard classification.

2.04	FASTENERS

EDIT BELOW FOR TYPE OF DECK.

A.	Insulation and Membrane Fasteners:

1.	Steel and Wood Decks:  Hardened, self-tapping, Phillips pan head screws, coated to resist corrosion, and inserted thru 3 inch dia steel plates.  Screw and plate as recommended and approved by the membrane manufacturer and Factory Mutual approved.

a.	Steel Decks:  Minimum penetration 3/8 inch; minimum pull out resistance from deck 400 lb.

b.	Wood Decks:  Minimum penetration one inch; minimum pull out resistance from deck 400 lb.

2.	Concrete Decks:  Hardened, blunt tipped, self-tapping, Phillips pan head screw, coated to resist corrosion, inserted thru 3 inch dia plastic or steel plates, and specifically designed to be used in a pre-drilled hole.  Screw and plate as recommended by the membrane manufacturer and Factory Mutual approved.

a.	Minimum penetration one inch; minimum pull out resistance from deck 400 lb.

USE BELOW OVER LIGHTWEIGHT STRUCTURAL DECK SYSTEMS ONLY.

3.	Gypsum, Lightweight Concrete, and Structural Cement Fiber Decks:  Plastic, threaded fastener with integral large diameter stress plate and pre-assembled wire barb, specifically designed to be used in a pre-drilled hole; “NTB Toggle-Less Fastener” by; NTB Fastening Systems Inc., 788 Western Avenue, Masinea, WI  54455.

a.	Minimum penetration 1-1/2 inches; minimum pull out resistance from deck 200 lb.

B.	Base Flashing Fasteners (For Top Edge Of Flashing):

EDIT BELOW FOR APPLICABLE SURFACES.

1.	Masonry Surfaces:  Hardened masonry nails or drive pins thru 1-1/4 inch sheet metal discs.

2.	Sheet Metal Surfaces.  Hardened, self tapping, #10 sheet metal screws thru 1-1/4 inch sheet metal discs.

3.	Wood Surfaces:  “Cap Nail” annular ring roofing nail with one inch dia or square solid cap, by Simplex Nails Inc., Americus, GA  31709.

USE BELOW ON PIPES AND VENT STACKS.

C.	Compression Clamp:  Stainless steel or cadmium plated steel worm drive clamp.

USE BELOW WHEN NO CAP FLASHING.

D.	Metal Compression Bar and Fasteners:

1.	Compression Bar:  1-1/2 x 1/8 inch aluminum bar, maximum length 10 feet, with holes 1/16 inch larger than fastener diameter predrilled at 1 foot centers.  Form top of bar with 45 degree x 1/4 inch wide stiffener and caulking flange.

2.	Fasteners:

a.	Concrete or Masonry:  Hard aluminum alloy or stainless steel screws with 1/4 inch dia plastic expansion shield or 1/4 inch dia aluminum hammer driven expansion anchor.  Length as required to securely hold the compression bar tight against the flashing surface.

b.	Wood and Sheet Metal:  Hard aluminum alloy or stainless steel screw.  Length as required to securely hold the compression bar tight against the flashing surface.

DELETE BELOW WHEN NO BUILDING EXPANSION JOINT SHOWN.

2.05	EXPANSION JOINT FILLER AND TUBE

A.	Expansion Joint Filler:  Neoprene or polyethylene joint filler 25 percent wider than the width of the joint.

B.	Expansion Joint Tube:  2 inch diameter polyethylene tube.

2.06	MISCELLANEOUS MATERIALS

USE BELOW BEFORE FOR PITCH POCKETS.

A.	Mortar:  ASTM C 270, Type S.

USE BELOW TO REPAIR EXISTING VAPOR BARRIER OR ROOFING MEMBRANE.

B.	Materials For Repair Of Existing Vapor Barrier/Roofing Membrane:

1.	Asphalt Fiberglass Felt:  Glass fiber mat coated with weathering grade asphalt.  ASTM C 2178, Type IV.

2.	Plastic Roof Cement:  Fibrated, flashing grade; ASTM D 2822.

USE BELOW TO INSTALL NEW VAPOR BARRIER ON CONCRETE DECKS.

C.	Materials For Vapor Barrier:

1.	Primer:  Quick drying asphalt primer; ASTM D 41.

2.	Bitumen:  Steep asphalt; ASTM D 312, Type III.

3.	Asphalt Fiberglass Felt:  Glass fiber mat coated with weathering grade asphalt; ASTM D 2178, Type IV.

USE BELOW TO INSTALL NEW VAPOR BARRIER ON WOOD DECKS, GYPSUM DECKS, LIGHTWEIGHT CONCRETE FILL, AND TECTUM DECKS.

D.	Materials For Vapor Barrier:

DELETE THE NEXT 2 SUBPARAGRAPHS BELOW ON GYPSUM AND LIGHTWEIGHT CONCRETE.

1.	Fasteners For Wood Decks:  Annular ring roofing nail with one inch diameter or square solid cap; “Cap Nail” by Simplex Nails Inc., Americus, GA  31709.

2.	Fasteners For Tectum Decks:  “Tube-Lok Nail” by Simplex Nails Inc., Americus, GA  31709.

3.	Bitumen:  Steep asphalt, ASTM D 312, Type III.

4.	Asphalt Fiberglass Base Sheet:  Glass fiber mat heavily coated with weathering grade asphalt, non-porous.

5.	Asphalt Fiberglass Felt:  Glass fiber mat coated with weathering grade asphalt; ASTM D 2178, Type IV.

USE BELOW TO INSTALL NEW VAPOR BARRIER ON STEEL DECKS.

E.	Materials For Vapor Barrier:

1.	Laminated high strength kraft paper with asphaltic adhesive; “Permstop Vapor Retarder” and “Permstop Adhesive” by Owens Corning Fiberglass, Fiberglass Tower, Toledo, OH  43659; or “Vaporstop 398” and “Pyro-Kure Adhesive” by St. Regis, Sisalkraft Division, Attleboro, MA  02703.

F.	Walkway Pads:  Textured rubber pads, 3 x 4 feet x manufacturers standard thickness; “Roof-Gard Pads” by Humane Equipment Co., PO Box 24, 805 Moore St., Baraboo, WI  53913; or “Versigard Walkway Pads” by Goodyear Tire and Rubber Co., Akron, OH  44316.

PART 3   EXECUTION

3.01	PREPARATION

A.	Testing Existing Roof Drains and Conductor Pipes:  Before commencing with the work, water test existing roof drains and conductor pipes and submit a written report to the Director’s Representative, indicating which drains or conductors, if any, are not functioning properly.  Repair of existing drains and conductors is not included in the Work.  Repair Work (if any) may, at the Director’s option,  be accomplished by an Order on Contract.

USE BELOW ON CONCRETE AND GYPSUM DECKS ONLY.

B.	Testing Pull Out Resistance of Fasteners:  Before commencing with the roofing work, in the presence of the Director’s Representative, install 3 fasteners thru a sample of the approved insulation into the structural deck.  Test the pull out resistance of each fastener with a pull out tester such as “Fabco Pull Tester” by Fabco Fastening Systems, West Newton, PA  15089.

1.	Test the fasteners at locations selected by the Director’s Representative.

2.	Do not proceed with the roofing work if the pull out resistance of the fasteners is less than that specified in this Section.

USE BELOW WITH EXISTING ROOF REMOVAL TO REPAIR EXISTING VAPOR BARRIER.  ALL DECKS EXCEPT WOOD AND STEEL.

C.	Patching Existing Vapor Barrier:  Remove all loose and/or deteriorated portions of the existing vapor barrier.  Patch all defective areas with fiberglass felt embedded in and coated with asphalt plastic roof cement.  Extend the patch a minimum of 6 inches beyond the defect on all sides.

USE BELOW WHEN EXISTING ROOFING MEMBRANE IS TO REMAIN.  EDIT FOR TYPE OF ROOFS.

D.	Preparing Existing Roof Membrane:

1.	Gravel Surfaced Roofs:  Remove loose aggregate surfacing, dirt, debris and surface moisture by power sweeping and vacuuming.  Only firmly bonded gravel may be left in place.  Remove high spots of the gravel to produce a reasonably level and smooth surface.

2.	Smooth Surface Roofs:  Remove dirt, debris, and surface moisture.

3.	Cut open blisters so they lay flat.  Where blisters will not lay flat, cut off raised or loose portions.

USE BELOW ONLY WHEN THERE ARE KNOWN WET AREAS OF EXISTING INSULATION.  COORDINATE WITH DRAWINGS.

4.	Where shown and directed cut open the existing roofing membrane and remove wet insulation.  Fill the void left by the removals, with insulation to match the existing thickness.

a.	If roofing system is not installed the same day, patch all defective areas with 2 plies of fiberglass felt embedded in and coated with asphalt plastic cement.  Extend the patch a minimum of 6 inches beyond the defect on all sides.

USE ARTICLE BELOW ONLY TO INSTALL NEW VAPOR SEAL.  DO NOT USE ON STEEL DECKS.

3.02	HEATING BITUMEN

A.	General:

1.	The heating process shall be strictly regulated by means of an automatic thermostatic control of an approved type for positive temperature control.  Kettles or tankers shall be the immersion tube type, fired by Liquid LP gas, and shall have 100 percent safety shutoff.

2.	Equip each kettle or tanker with a recording thermometer that will graphically indicate and record on a chart the maximum and minimum temperatures to which materials have been heated.  Recording thermometers shall be capable of accurately recording temperatures as high as 600 degrees F and as low as 0 degrees F.  The thermometers shall be properly maintained at all times.  Kettles or tankers without recording thermometers in good working conditions shall not be used.  At the end of each working day, turn the chart from the thermometer on each kettle or tanker over to the Director’s Representative.  If any bitumen is overheated, remove it from the site in the presence of the Director’s Representative.  If any underheated or overheated bitumen has been applied on the roof, remove that portion of the roof.

3.	On multi-storied buildings, when directed, locate the heating kettles on the roof.  Place kettle on a heavy sheet metal tray on dunnage.  Metal tray shall extend 18 inches beyond the sides and ends of the kettle and be turned up one inch at all edges.

a.	Only one gas cylinder shall be on the roof at any one time.  Locate the cylinder at least 4 feet away from the kettle.  Vertically brace the cylinder and shade it from the sun.

b.	Provide fire extinguishers on the roof in the vicinity of the kettles as required to insure the safety of the roof.

B.	Heating Asphalt:

1.	Heat the bitumen in accordance with the Equiviscous Temperature information furnished by the bitumen manufacturer for that specific run of bitumen.

2.	In no case shall the asphalt be heated to or above the actual COC Flash Point (ANSI/ASTM D-92); or the finished blowing temperature for more than 4 hours.

3.	Maintain the temperature of the bitumen at the point of application within the Equiviscous Temperature Range.  Use insulated pipes, buckets, luggers, and other insulated roofers equipment as required by the field conditions.

4.	If the Equiviscous Temperature information is not furnished by the bitumen manufacturer, heat the bitumen as follows:

a.	Steep Asphalt, Type III:  Do not heat the asphalt above 500 degrees F.  The temperature at the point of application shall be between 375 degrees F and 475 degrees F.

3.03	INSTALLING VAPOR BARRIER

USE BELOW FOR STEEL DECKS.

A.	Install one ply of kraft paper parallel to the flutes.  Embed the kraft paper into a film of adhesive applied over the entire portion of deck that will come in contact with the kraft paper.  Lap edges 2 inches and ends 6 inches and seal with adhesive.  If vapor barrier is punctured, repair immediately with additional kraft paper set in adhesive.  Do not precede installation of insulation by more than 10 feet at any time.

USE BELOW FOR CONCRETE DECK.

B.	Apply asphalt primer to the concrete deck surface at the rate of one gallon per square before application of vapor barrier.

1.	Install 2 plies of asphalt fiberglass felt shingle fashion.  Lap plies 19 inches over each preceding ply.

2.	Embed each ply in a solid mopping of hot steep asphalt applied at the rate of 20 lbs per square.  Broom in each ply to complete embedment.

3.	Glaze coat the entire surface with hot steep asphalt applied at the rate of 20 lbs per square.

USE BELOW FOR WOOD DECKS, GYPSUM DECKS, LIGHTWEIGHT CONCRETE FILL AND TECTUM DECKS.

C.	Install one ply of asphalt fiberglass base sheet over the entire deck surface.  Lap edges and ends a minimum of 2 inches.

USE BELOW ON GYPSUM AND LIGHTWEIGHT CONCRETE DECKS.  DO NOT USE ON TECTUM OR WOOD DECKS.

1.	Adhere the base sheet to the deck with spots of hot steep asphalt spaced 24 inches apart.

USE BELOW ON TECTUM AND WOOD DECKS.

2.	Secure the base sheet to the deck with nails spaced 9 inches oc along all edge and end laps.  Place an additional row of nails down the center of each sheet at 18 inches oc.

3.	Over the base sheet install one ply of fiberglass felt.  Lap edges and ends 2 inches.

a.	Embed the felt in a solid mopping of hot steep asphalt applied at the rate of 20 lbs per square.  Broom the felts to complete embedment.

4.	Glaze coat the entire surface with hot steep asphalt applied at the rate of 20 lbs per square.

D.	Extend the vapor barrier at all curbs, walls, and wood blocking to a height equal to the thickness of the insulation.

1.	Unless approved otherwise by the Director’s Representative follow immediately with the installation of the insulation and roofing membrane.

3.04	INSTALLING HYPALON ROOFING SYSTEM

USE BELOW ON WOOD DECKS ONLY.

A.	Installing Insulation Underlayment:  If required by the membrane manufacturer, loose lay one ply of underlayment before installing insulation.  Lap edges and ends 6 inches.

USE BELOW FOR SINGLE LAYER FLAT INSULATION.

B.	Installing Single Layer Insulation:  Install the insulation with the long joints running in a continuous straight line perpendicular to the direction of the roof membrane.  Stagger end joints.  Butt edges and ends snugly.  “Occasional” joint widths up to 1/8 inch will be allowed.

1.	Secure each board to the structural deck with one fastener for every 4 sq ft of insulation board.  Install one fastener 6 inches from each corner, of each board.  Unless required otherwise by the membrane manufacturer, install the remaining fasteners equally spaced, 6 inches from the edges of each board.

2.	Discard boards with broken corners or boards which are warped.

USE BELOW ON STEEL DECKS ONLY.

3.	Install the insulation with the long edges running in the same direction as the flutes of the steel deck with edge joints bearing on solid surface of the deck.

USE BELOW FOR MULTIPLE LAYER FLAT INSULATION.

C.	Installing Double Layer Insulation:  Install the insulation in 2 separate layers with the long joints of each layer running in the same direction in a continuous straight line perpendicular to the direction of the roof membrane.  Stagger end joints.  Install the top layer of insulation with joints staggered from the joints of the base layer.  “Occasional” joint widths up to 1/8 inch will be allowed.

1.	Loose lay the bottom layer of insulation.  Secure each board of the top layer to the structural deck with one fastener for every 4 sq ft of insulation board.  Install one fastener 6 inches from each corner, of each board.  Unless required otherwise by the membrane manufacturer, install the remaining fasteners equally spaced, 6 inches from the edges of each board.

2.	Discard boards with broken corners or boards which are warped.

USE BELOW ON STEEL DECKS ONLY.

3.	Install the insulation with the long edges running in the same direction as the flutes of the steel deck with the edge joints of the bottom layer bearing on solid surface of the deck.

USE BELOW WITH TAPERED INSULATION.  ALL DECKS.

D.	Installing Tapered Insulation:  Follow the manufacturer’s shop drawings and instructions for laying out the tapered insulation system.

1.	Butt edges and ends snugly.  “Occasional” joint widths up to 1/8 inch will be allowed.

2.	Secure each board to the structural deck with one fastener for every 4 sq ft of insulation.  Install one fastener 6 inches from each corner of each board.  Unless required otherwise by the membrane manufacturer, install the remaining fasteners equally spaced, 6 inches from the edges of each board.

a.	Discard boards with broken corners or boards which are warped.

DELETE BELOW IF NO CRICKETS SHOWN ON DRAWINGS.

3.	Install the cricket system over the tapered insulation system.  Fully adhere each piece of cricket insulation in a full bed of insulation adhesive.

E.	Installing Insulation Fasteners:  Set the fasteners with sufficient force to hold the insulation firmly against the deck surface.  Do not allow the fastener to crush the insulation.  Check each fastener to insure that it is securely anchored to the deck.  Remove all loose or defective fasteners.

USE BELOW ON CONCRETE, GYPSUM AND TECTUM DECKS.

1.	Before installing the fasteners, pre-drill the correct size hole thru the insulation and into the deck.  Drill the hole 3/8 inches deeper than the fastener penetration.

F.	Splicing and Bonding Sheet Membrane and Flashing:

1.	Splicing:  Splice all side and end laps of the sheet membrane and flashing, and all connections to Hypalon coated metal (if any).  All splices shall be hot air welded with automatic hot air welders.  Hand held welders may be used only on small areas and areas that are inaccessible with automatic welders.

a.	Each day before welding, calibrate the automatic welder for correct rate of speed, temperature, etc.

b.	Detergent wash all seams that are dirty with the manufacturer’s recommended detergent.  Wash off all traces of detergent with clean water and allow to dry completely.

c.	Solvent wash all seams before welding with clean white rags soaked in the manufacturer’s recommended solvent.

d.	Cured hypalon membrane is not allowed for the Work of this Section.  However if the membrane has partially cured it may be acceptable providing that it is detergent washed to remove all dirt and dust, solvent washed, and primed with the manufacturer’s primer.  If more than 30 minutes elapses between priming and hot air welding, reapply additional primer.

e.	Each day test weld samples of membrane to insure that the welders are calibrated properly and to determine if the membrane has partially cured and require priming.  Turn all samples over to the Director’s Representative.

2.	Bonding:  Where shown on the drawings, adhere the flashings to the substrate with the manufacturer’s bonding adhesive.  Apply the bonding adhesive to both mating surfaces at the rate recommended by the manufacturer.  Do not leave any skips or voids.

a.	Allow the bonding adhesive to dry until it does not stick to the finger touch.

b.	Install the flashing so it is free of wrinkles, voids, and blisters.

c.	Do not allow bonding adhesive to come in contact with areas to be hot air welded.

d.	Do not allow the flashing to bridge where it changes direction from vertical to horizontal.

G.	Installing Hypalon Sheet Membrane:

1.	Install the membrane so the sheets run perpendicular to the long dimension of the insulation boards.

2.	If possible start at the high point of the roof and work towards the low point.  Lap the sheets so the flow of water is not against the edges of the sheet.

3.	Position the membrane so it is free of buckles and wrinkles.  Lap edges and ends of sheets as recommended by the manufacturer.

4.	Roof Perimeter Sheets:  Secure the roof perimeter sheets in one of the following methods as recommended by the manufacturer.

a.	Around the perimeter of the roof install 2 rows of half width sheets.  Fasten the sheets to the structural deck with fasteners 1’-0” oc placed along the edges of the underlying sheet.

b.	Around the perimeter of the roof install one full width sheet.  Fasten the sheet to the structural deck with fasteners 1’-0” oc placed along the edges of the underlying sheet.  Place an additional row of fasteners 1’-0” oc along the center line of the sheet.  Hot air weld a 6 inch wide continuous strip of membrane over the fasteners.

5.	Roof Field Sheets:  Install full width Hypalon sheets.  Lap the ends of the sheets over the perimeter sheets a minimum of 4-1/2 inches.  Fasten the membrane to the structural deck with fasteners 18 inches oc placed along the edge of the underlying sheet.

6.	Place all fasteners so that the fastener plates do not extend beyond the back edge of the underlying sheet.

7.	Splice all seams as the membrane is being installed (same working day).

DELETE BELOW WHEN NO GRAVEL STOP.

8.	At gravel stops turn the membrane over the front edge of the nailer.  Secure the membrane to the vertical portion of the nailer.

9.	At parapet walls, intersecting building walls and curbs secure the membrane to the structural deck with fasteners 12 inches oc.

H.	Phasing of Membrane Installation:

1.	At the end of each working day temporarily seal the loose edge of the membrane so that water does not flow beneath the covered portion.  Spud off all existing aggregate (if any) in the area to be sealed, remove all dirt, dust and foreign matter.  Install the temporary seal.

a.	Apply the membrane manufacturer’s nite seal over the area to be sealed.  Embed the membrane into the nite seal.  Apply a continuous weight over the membrane and nite seal.  Before the work resumes cut off and discard all portions of the membrane which have been embedded in the nite seal.

2.	Install flashings as the membrane is being installed (same working day).  If the flashing can not be completely installed in one day, progress the installation until the flashing is in a watertight condition.

I.	Flashing Roof Drains:

1.	Apply the manufacturer’s water cut off mastic around the perimeter of the drain body.  Embed the membrane into the mastic.  Install the clamping ring and strainer.

USE ABOVE FOR NEW WORK ON CAST DRAIN BODIES.  USE BELOW ON REROOFING WITH CAST DRAIN BODIES.

2.	Remove the existing clamping ring, coverstrips and lead flashing.  Clean the contact area of the drain body down to bare metal.  Apply the manufacturer’s water cut off mastic around the perimeter of the drain body.  Embed the membrane into the mastic.  Install the clamping ring and strainer.

a.	Secure the clamping ring with the existing bolts.  Provide bolts to match existing to replace any bolts damaged or broken during the Work.

USE BELOW FOR SHEET METAL DRAINS.

3.	Set the sheet metal roof drain over the membrane.  Strip in the flanges of the drain with unreinforced Hypalon sheet flashing.  Extend the flashing a minimum of 4 inches beyond the flanges.  Adhere the flashing to the drain flanges with bonding adhesive, and splice flashing to the roof membrane.

J.	Installing Reinforced Hypalon Base Flashing:

1.	Install the flashing so it extends onto the roof surface a minimum of 3 inches beyond the fasteners which secure the roofing membrane.  Terminate the flashing on the vertical surface where shown on the drawings.

2.	Adhere the flashing to the vertical surface with bonding adhesive.  Splice the flashing to the roof membrane.

3.	At corners extend the vertical portion of the flashing 2 inches around the corner.  Cover the corner with unreinforced flashing.

4.	Secure the top edge of the flashing with fasteners 12 inches oc.

5.	If required by the manufacturer apply lap sealant at all splice edges.

DELETE BELOW IF CAP FLASHING IS USED.

K.	Installing Compression Bar:

1.	Where base flashing does not terminate beneath a cap flashing, seal the top edge as follows:

a.	Set the top one inch of the flashing in water cut off mastic.

b.	Install a continuous metal compression bar over the flashing and secure one foot oc.

c.	Apply a bead of lap sealant along the top edge.

L.	Installing Unreinforced Hypalon Pipe Flashing:

1.	Install a square shaped piece of flashing over the membrane.  Turn the flashing up onto the pipe 1/2 inch.  Splice the flashing to the membrane.

2.	Coat the pipe, with bonding adhesive.

3.	Wrap a second piece of flashing around the pipe.  Extend the flashing 1/2 inch onto the horizontal portion of previously installed flashing.  Splice the overlapping flashings.  Install compression clamp around top of flashing.  Apply lap sealant at the top edge of the flashing.

USE BELOW FOR CONVENTIONAL STYLE GRAVEL STOPS.

M.	Installing Reinforced Hypalon Gravel Stop Flashing:

1.	Install the gravel stop over the roofing membrane.  Strip in the horizontal portion of the gravel stop with one strip of reinforced sheet flashing.  Extend the flashing a minimum of 3 inches beyond the horizontal metal flange.

USE BELOW FOR ALL TYPES OF METAL EXCEPT HYPALON COATED METAL.

2.	Adhere the flashing to the metal flange of the gravel stop with bonding adhesive.  Splice the flashing to the roofing membrane.

USE BELOW FOR HYPALON COATED METAL ONLY.

3.	Splice the flashing to the hypalon coated metal flange and to the roofing membrane.

4.	Apply lap sealant at all splice edges.

USE BELOW FOR CANT TYPE GRAVEL STOPS.

N.	Installing Reinforced Hypalon Gravel Stop Flashing:

1.	Install the canted water dam portion of the gravel stop over the roofing membrane.  Strip in the water dam with one strip of reinforced sheet flashing.  Extend the flashing over the front edge of the water dam a minimum of one inch and out past the base of the cant a minimum of 3 inches.

2.	Adhere the flashing to the water dam with bonding adhesive.  Splice the flashing to the roofing membrane.

3.	Apply lap sealant at all splice edges.

4.	Install the fascia portion of the gravel stop.

O.	Installing Pitch Pocket:

1.	Install the metal pitch pocket over the roofing membrane.  Completely cover the pitch pocket with unreinforced flashing.  Turn down the flashing 1/2 inch into the pitch pocket and a minimum of 3 inches beyond the horizontal flanges of the pitch pocket.

2.	Adhere the flashing to the pitch pocket with bonding adhesive.  Splice the flashing to the roofing membrane.

3.	Fill the bottom half of the pitch pocket with mortar.  Fill the remaining portion of the pitch pocket with the membrane manufacturer’s pourable sealer.

P.	Installing Reinforced Hypalon Scupper Flashing:

1.	Strip in the flanges of the metal scupper with reinforced flashing.  Extend the flashing a minimum of 3 inches beyond the flanges onto the roofing membrane and adjacent flashing.

2.	Bond the flashing to the scupper.  Splice the flashing to the roofing membrane and adjacent flashing.

3.	If required by the manufacturer apply lap sealant at all splice edges.

USE BELOW FOR EXPANSION JOINTS AT WALLS.

Q.	Installing Reinforced Hypalon Flashing at Building Wall Expansion Joint:

1.	Install premolded joint filler, and expansion joint filler tube at intersection of deck and vertical building wall.

2.	Install reinforced flashing so it extends onto the roof surface a minimum of 3 inches beyond the fasteners which secure the roof membrane.  Extend the flashing over the filler tube and up the vertical wall surface.

3.	Adhere the flashing to the vertical surface with bonding adhesive.  Splice the flashing to the roof membrane.

4.	Secure the top edge of the flashing 12 inches oc.

5.	Apply lap sealant at all splice edges.

USE BELOW FOR EXPANSION JOINTS IN FIELD OF ROOF.

R.	Installing Reinforced Hypalon Flashing at Expansion Joint Thru Field of Roof:

1.	Install premolded joint filler and expansion joint filler tube.

2.	Install the flashing so it extends over the filler tube and onto the roof membrane a minimum of 3 inches beyond the fasteners which secure the roof membrane.

3.	Splice the flashing to the roofing membrane.

4.	Apply lap sealant at all splice edges.

S.	Installing Walkway Pads:

1.	Apply bonding adhesive to the pad and to the roofing membrane.  Install the pads over the membrane. Apply sufficient pressure to insure a good bond.

3.05	FIELD QUALITY CONTROL

A.	In the presence of the Director’s Representative closely examine and probe all seams in the membrane and flashing.

1.	Probe the edges of all welded seams with a blunt tipped cotter pin removal tool.  Use sufficient hand pressure to detect, marginal welds, voids, skips, and fishmouths.

2.	When and where directed by the Director’s Representative, cut 4 inch wide by 12 inch long samples thru the welded seams.  Cut the samples perpendicular to the longitudinal direction of the seams.  Failure of the samples to maintain the standard of quality of the approved samples will be cause for rejection of the Work.

3.	Repair all areas of welded seams where samples have been taken.

END OF SECTION