D&C  JWM:dja

SECTION 075100
BUILT-UP BITUMINOUS ROOFING SYSTEM

PART 1   GENERAL

1.01
RELATED WORK SPECIFIED ELSEWHERE


A.
Restricted Work Period:  Section 011000.


B.
Wood Nailers and Blocking:  Section 061053.


C.
Flashing and Trim:  Section 076000.


D.
Roof Accessories:  Section 077200.

1.02
REFERENCES


A.
ASTM:  American Society of Testing and Materials.


B.
UL:  Underwriters Laboratories, Inc.

1.03
SYSTEM DESCRIPTION

EDIT PARAGRAPH BELOW TO SUIT.


A.
Built-Up Roofing System:  Four plies of asphalt fiberglass felt embedded in solid mopping of hot asphalt or cold adhesive over coverboard or insulation and vapor retarder and surfaced with stone aggregate or smooth surfaced.

1.04
DEFINITIONS

THE DEFINITION BELOW SUPERSEDES THE DEFINITION IN SECTION 014216 FOR COMPANY FIELD ADVISOR.

A.
Company Field Advisor; An individual meeting the requirements of either subparagraph below:



1.
An employee of the company producing or manufacturing the system (or the company which lists and markets the primary components of the system under their name) who is certified in writing by the company to be technically qualified in design, installation, and servicing of the required products, and has experience in the installation of the required products.  Personnel involved solely in sales do not qualify.



2.
An individual employed by an organization (other than the company producing or manufacturing the system), certified in writing by the company producing or manufacturing the system, that the individual is technically qualified in design, installation and servicing of the required products and is capable to act as company field advisor in their behalf, and has experience in the installation of the required products.  Personnel involved solely in sales do not qualify.

1.05
SUBMITTALS


A.
Waiver of Submittals:  The “Waiver of Certain Submittal Requirements” in Section 013300 does not apply to this Section.


B.
Submittals Package:  Submit the shop drawings, product data, samples, and quality control submittals specified below at the same time as a package.


C.
Shop Drawings:



1.
When there is a proposed deviation from the Contract Documents, submit the revised detail labeled as such for approval.  The revised detail shall show existing conditions and shall be referenced directly to the related details on the Contract Drawings.

USE SUBPARAGRAPH BELOW WITH TAPERED INSULATION.

2.
Submit an accurate layout of the tapered insulation showing the slopes to the drains.  Show cross section drawings illustrating the location and thickness of tapered insulation pieces and filler pieces.  Show the thickness of the insulation system at high and low points.

USE SUBPARAGRAPH BELOW WHEN WOOD NAILERS ARE REQUIRED ON SLOPED BACK-NAILED ROOFS.


3.
Submit an accurate layout of the wood nailers showing their required locations, and required spacing between nailers.  Show the direction of the felt run in relation to the slope of the deck and the wood nailers.


D.
Product Data:  Catalog sheets, specifications and installation instructions for each material specified.



1.
Revise the membrane manufacturer’s product data as necessary to suit the requirements of the Contract Documents.  Manufacturer’s details are not to be used for the Work of this contract.



2.
Manufacturer’s Warranty:  Sample copy of the membrane manufacturer’s 10 year warranty covering workmanship and materials.


E.
Samples:



1.
Asphalt Fiberglass Felt:  Three 6-inch square pieces.

 

2.
Mineral Surfaced Flashing Cap Sheet:  Three 6-inch square pieces.

3.
Fasteners:  Three of each type.



4.
Insulation:  Three 3-inch square piece of each type.



5.
Aggregate Surfacing:  Five lbs.


F.
Quality Control Submittals:



1.
Fire Hazard Certification:  Written certification that the roof system, including the specific insulation, has been tested in conjunction with the type of structural roof deck and roof slope applicable to the project and has achieved an Underwriters Laboratories Class A external fire resistance rating.




a.
Acceptable Certification:  Letter from Underwriters Laboratories, or a copy of the Underwriters Laboratories classification listing for the roofing system.

EDIT UPLIFT RATING TO 1-120 FOR DOWNSTATE PROJECTS.


2.
Wind Uplift Certification:  Submit written certification that the roof system, including the specific insulation, fasteners, and fastener density, has been tested in conjunction with the type of structural roof deck applicable to this project, and has achieved a Factory Mutual Class 1-90 Wind Uplift rating.




a.
Acceptable Certification:  Letter from Factory Mutual, or a copy of the Factory Mutual Approval Report for the roofing system.



3.
Material Certification:  Written certification from the roofing membrane manufacturer certifying that the insulation, insulation fasteners (if any), flashings and accessory products provided by the membrane manufacturer are approved for use with the roofing system and are included in the “10 year full system warranty”.



4.
Membrane Manufacturer’s Qualifications Data:




a.
Written certification that the manufacturer has been actively marketing the submitted system for the past 5 years.




b.
Names and addresses and telephone numbers of 5 previous built-up roofing projects installed within the past 5 years.  Include the type and size of each project, and name and telephone number of a contact person at the project locations.



5.
Installer’s Qualifications Data:




a.
Written certification from the membrane manufacturer certifying that the installer is licensed or approved to install the roof system.




b.
Names, addresses, and telephone numbers of 3 buildings where the installer has installed modified bitumen roof systems that have had the manufacturer’s warranty issued.  Include the types of built-up systems installed, the manufacturer’s names, and the warranty numbers.




c.
Written certification that the job supervisor or crew chief and at least one other member of the roofing crew have installed at least 3 built-up roof systems and are thoroughly familiar with all aspects of the installation.



6.
Warranty:  Sample copy of the 10 year full system warranty.


G.
Contract Closeout Submittals:



1.
Warranty:  Warranties as specified.

1.06
QUALITY ASSURANCE


A.
Membrane Manufacturer’s Qualifications:



1.
The manufacturer shall have the technical expertise and qualified technical representatives to quickly resolve questions or problems that may arise both during and after the Work is completed.



2.
The manufacturer shall have been actively marketing a built-up roof system in the United States for a minimum of 5 years.



3.
The manufacturer shall provide the names, addresses, and telephone numbers of at least 10 previous projects of comparable size, scope, and complexity as the Work of this Section.



4.
The manufacturer must require that the roof system be installed by a licensed or approved applicator.


B.
Applicator’s Qualifications:  The application of the roofing system shall be performed by an applicator licensed or approved by the membrane manufacturer.  The licensed or approved applicator shall have previously installed at least 3 built-up roofing systems for which the manufacturer’s warranty was issued.



1.
Workers:  The crew chief and at least one other member of the roofing crew shall have installed at least 3 built-up roof systems and shall be thoroughly familiar with all aspects of the installation.


C.
Fire Department Regulations:  Equipment and fuel shall meet the requirements of the New York State Building Code, and the local Fire Department.


D.
Fire Hazard Classification:  The built-up roof system shall have an Underwriters Laboratories Class A or B External Fire Resistance rating; as determined by tests conducted in conformity with UL-790 (ASTM E 108).



1.
The roof system, which includes a specific generic type of insulation and in some instances a specific name brand insulation, shall have been tested in conjunction with the type of structural roof deck and roof slope applicable to the project.


E.
Pre-Installation Conference:  Before the roofing Work is scheduled to commence, a conference will be called by the Director’s Representative at the site for the purpose of reviewing the Drawings and the Specifications and discussing requirements for the Work.  The conference shall be attended by the Contractor, the authorized roofing applicator, and the Company Field Advisor.

QUESTIONS REGARDING THE USE OF THE ARTICLE BELOW SHOULD BE DIRECTED TO THE BUSINESS UNIT’S ROOFING QIT REPRESENTATIVE.
1.07
ROOFING MANUFACTURER’S COMPANY FIELD ADVISOR


A.
The manufacturer of the roofing system, issuing the final system guarantee on this roofing project, must supply a Company Field Advisor, as a technical representative, with the following minimum qualifications:



1.
Documentation of 5 years of field experience on the same type of roofing system.



2.
Documentation of 10 projects where role was a Company Field Advisor; include contact names and phone numbers for each project.



3.
Documentation of attendance at a roof specific instructional seminar within the last two years.

IT IS MANDATORY TO DISCUSS THE USE OF THE PARAGRAPH BELOW WITH THE CLIENT, THE DIVISION OF CONSTRUCTION, AND PERHAPS THE SPECIFIED MANUFACTURERS, AT PROJECT INCEPTION, PARTICULARLY ON DOWNSTATE PROJECTS.  THERE IS A FEE ASSOCIATED WITH THE NUMBER OF HOURS FOR A FIELD ADVISOR TO BE ON A PROJECT.  INCLUDE THIS ADDITIONAL COST IN THE PROJECT ESTIMATE BEGINNING WITH THE PROGRAM ESTIMATE.

EDIT NUMBER OF DAYS AND HOURS BELOW DEPENDING ON SIZE AND COMPLEXITY OF PROJECT.  SIX DAYS AT 4 HOURS PER DAY COULD WORK AS A MINIMUM FOR A SIMPLER PROJECT.  SIX DAYS OR MORE, AT MORE THAN 4 HOURS PER DAY COULD WORK FOR A LARGER, MORE COMPLEX PROJECT.

B.
Secure the services of the Company Field Advisor for a minimum of _______ days at a minimum of _________ hours per day to inspect the workmanship of the roofing system installer.


C.
Company Field Advisor Duties and Responsibilities:



1.
Become familiar with the Contract Documents and approved submittals prior to the pre-roofing conference.



2.
Attend the pre-roofing conference and the beginning of the actual membrane installation for the purpose of:




a.
Rendering technical assistance to the Contractor regarding installation procedures of the system.




b.
Familiarizing the Director’s Representative with all aspects of the system including inspection techniques.




c.
Answering questions that might arise.

EDIT REMAINING SUBPARAGRAPHS BELOW TO SUIT PROJECT COMPLEXITY AND NEED.  DISCUSS APPROPRIATENESS OF SUBPARAGRAPHS WITH DESIGN PROJECT MANAGER AND THE DIVISION OF CONSTRUCTION.


3.
Attend each bi-weekly meeting.



4.
Be objective, unbiased and impartial in each inspection, recommendation, conversation, action and written report.




a.
Inspect and approve the existing substrate, flashing, blocking, and related materials as being acceptable for the installation of the roofing system.




b.
Ensure proper fastening patterns and fastener sizes of wood blocking, insulation, edge flashing, and related components.



5.
Immediately report non-compliant conditions, if any, to the Director’s Representative.



6.
Provide to the Director’s Representative a written report, submitted prior to leaving the Project Site each day the Company Field Advisor is present.  Each daily written report shall contain at a minimum:




a.
Date of report and inspection.




b.
Weather conditions at the start, middle, and end of the work day.




c.
Work performed including Contractor activity, contractor crew size, supervisor’s name, area of activity, and progress and quality of the work as observed.




d.
Discussions with Contractor regarding work anomalies and resolution.




e.
Conditions that are not in compliance with the Contract documents.





1)
Continue documenting non-compliance issues in subsequent reports until the issue has been resolved.  Document resolution of non-compliance issues when resolved.



7.
Report to the Director’s Representative in writing failure or refusal of the Contractor to correct unacceptable practices called to the Contractor's attention.



8.
Confirm, after completion of the roofing work and based on the Company Field Advisor’s inspections and tests, that the Company Field Advisor has observed no applications procedures in conflict with the specifications other than those that may have been previously reported and corrected.

1.08
DELIVERY, STORAGE, AND HANDLING


A.
Delivery:



1.
Roofing materials shall be delivered to the site in the manufacturer’s unbroken containers and shall bear the manufacturer’s printed labels.



2.
All bitumen delivered in containers or tanker trucks shall be accompanied by the manufacturer’s certification stating; manufacturer’s name, type, softening point range, flash point, and compliance with ASTM specifications.

DELETE SUBPARAGRAPH BELOW ON COAL TAR ROOFS.



a.
Certification for Asphalt Bitumen shall also state the equiviscous temperature range and the finished blowing temperature range.


B.
Storage and Handling:  Store materials in a dry, well-ventilated place protected from the weather.



1.
Do not store materials so as to overload the deck or structural assembly.



2.
Store all materials on raised platforms covered with properly secured breathable water resistant covers. Slit shrink-wrapping so as not to permit condensation and cover with breathable tarp.



3.
Store all rolled materials on end.



4.
Do not remove materials from factory packaging until ready for use.



5.
Remove all materials that become wet or damaged from the site.



6.
Volatile liquids shall be stored in a separate storage building or trailer, or removed from the site at the end of each workday.




a.
Store volatile liquids at temperatures recommended by the manufacturer.



7.
Store adhesives, and sealants at temperatures between 60 degrees F and 80 degrees F.



8.
Do not stock pile aggregate surfacing on unsurfaced felts that are in place on the roof.

1.09
PROJECT CONDITIONS


A.
Do not execute the Work of this Section unless the Director’s Representative is present, or unless he directs that the Work be performed during his absence.


B.
Temperature:  Do not apply built-up roofing when the deck or air temperature is below 40 degrees F.


C.
Do not execute the Work of this Section unless the substrate is dry, and free from debris and dust.


D.
Moisture Protection:



1.
Cover, seal, and otherwise protect the roof and all flashings so that water cannot accumulate or flow under the completed portions. When and where required, provide temporary water cut-offs in accordance with the roofing manufacturer’s written specifications.

USE SUBPARAGRAPH BELOW ON REHABILITATION WORK ONLY.


2.
Limit the removal of existing materials to areas that can be completely re-roofed or temporarily protected within the same day. At the discretion of the Director’s Representative, a watertight built-up vapor barrier may be acceptable temporary protection for a maximum of 48 hours.


E.
During the progress of the work every effort must be made to keep odors generated by the work from entering the building.



1.
Coordinate the use of materials that could cause odors to permeate the building with the Director’s Representative.



2.
Shut off and wrap all air intakes in the vicinity of the work.



3.
Insure that all operable windows in the vicinity of the work area are closed.



4.
Equip each kettle with a fume recovery system.  An after burner type system is not acceptable.

1.10
WARRANTY


A.
Warranty Extension:  The one year period required by Paragraph 9.8 of the General Conditions is extended to 2 years for the Work of this Section.  Refer to Supplementary Conditions.

INCLUDE 007306 SUPPLEMENTARY CONDITIONS - WARRANTY EXTENSION.

B.
Manufacturer’s Warranty:  In addition to the 2 year period specified above, furnish the membrane manufacturer’s printed 10 year warranty for the Work of this Section.  The warranty shall include but not be limited to, repair of leakage caused by defects in materials or workmanship.  The monetary value of the warranty shall be at least equal to the original cost of the installation.



1.
The warranty shall include, but not be limited to, repair of leakage and the repair and/or replacement of the roofing system as necessary to correct defects caused by the materials or workmanship.




a.
Materials shall include membrane, insulation, fasteners, adhesives, bitumen, membrane flashings, and other accessory items provided by the membrane manufacturer.




b.
Repair and/or replacement of the roofing system shall include the replacement of wet insulation.  For the purpose of this specification, insulation will be considered wet if either of the following exists:





1)
Free water is visible when the insulation is compressed.





2)
No free water is visible when the insulation is compressed, but the insulation is damp to the touch over a large enough area, as determined by the Director’s Representative, to jeopardize the integrity of the roof system and any of it’s components, or to significantly lower the specified R value of the insulation.

PART 2   PRODUCTS

2.01
MATERIALS FOR VAPOR RETARDER

SELECT ONE OF THE FOLLOWING PARAGRAPHS.

A.
Repair of Existing Vapor Retarder:



1.
Primer:  Asphalt primer; ASTM D 41.



2.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.



3.
Steep Asphalt:  ASTM D 312, Type III.

EDIT HEADINGS BELOW FOR TYPE OF DECK.

B.
Asphalt Vapor Retarder Over Concrete Deck Or Existing Vapor Retarder:



1.
Primer:  Asphalt primer, ASTM D 41.



2.
Steep Asphalt:  ASTM D 312, Type III.



3.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.


C.
Coal Tar Vapor Retarder Over Concrete Deck Or Existing Vapor Retarder:



1.
Primer:  Coal Tar primer, ASTM D 43.



2.
Coal Tar Bitumen:  ASTM D 450, Type I, or “Coal Tar Bitumen” manufactured by Koppers Co., Inc.



3.
Coat Tar Felt:  Coal tar impregnated glass mat, ASTM D 4490, Type I.  UL Classified.

EDIT HEADING BELOW FOR TYPE OF DECK.

D.
Asphalt Vapor Retarder Over Wood Deck Or Structural Wood Fiber Deck:



1.
Rosin Paper:  Min weight 4 lb per square.



2.
Steep Asphalt:  ASTM D 312, Type III.



3.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.



4.
Asphalt Fiberglass Base Sheet: Glass fiber mat heavily coated with weathering grade asphalt, non-porous.  UL Classified.


E.
Asphalt Vapor Retarder Over Existing Gypsum Deck:



1.
Steep Asphalt:  ASTM D 312, Type III.



2.
Asphalt Fiberglass Base Sheet:  Glass fiber mat heavily coated with weathering grade asphalt, non-porous ASTM D 2178, UL Classified.



3.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.


F.
Asphalt Vapor Retarder Over Steel Deck:

SELECT ONE OF THE FOLLOWING VAPOR BARRIER UNDERLAYMENTS
1. Vapor Retarder Underlayment Board:  Gypsum roof board as specified in Underlayment Board below.

2. Vapor Retarder Underlayment Board:  Perlite mineral insulation board, 1 1/2 inches thick, ASTM C 728.  UL Classified.



3.
Steep Asphalt:  ASTM D 312, Type III.



4.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.

2.02
MATERIALS FOR BUILT-UP MEMBRANE

SELECT ONE OF THE FOLLOWING PARAGRAPHS. 


A.
Built-Up Asphalt Membrane:



1.
Low Slope Asphalt:  170 degree, Type II.

USE ABOVE ON SLOPES 0 TO 1/2 INCH PER FOOT.  USE BELOW ON SLOPES 1/2 TO 3 INCHES PER FOOT.


2.
Steep Asphalt:  190 degree, Type III.

USE BELOW ON SLOPES 3 TO 6 INCHES PER FOOT.


3.
Special Steep Asphalt:  220 degree, Type IV.



4.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.

USE BELOW FOR AGGREGATE SURFACED ROOFS.
5.
Aggregate Surfacing:  Size 1A pea gravel - dry, hard, durable; washed free of clay, loam, sand, and other foreign material.

USE ONE OF THE FOLLOWING FOR SMOOTH SURFACED ROOFS


6.
Asphalt Emulsion:  Fibrated emulsion coating, ASTM D 1227, Type IV UL Classified.



7.
Aluminized Coating:  Fibrated, bituminous aluminized coating, ASTM D 2824, Type III.  UL Classified.


B.
Cold Applied Built-Up Membrane:



1.
Interply Adhesive:  Cold process modified adhesive




a.
Asphalt content:  42 percent ASTM D 4479-93.




b.
Density:  8 lbs/ gal ASTM D 1475-90.



2.
Asphalt Felt:  Asphalt coated polyester/fiberglass/polyester reinforced felt.  UL Classified.




a.
Tensil Strength:  133 ft lbs/in minimum.




b.
Weight:  31 lbs/sq minimum.

USE BELOW FOR COAL TAR MEMBRANES.  0 TO 1/8 INCH PER FOOT SLOPE MAXIMUM.

C.
Coal Tar Membrane:



1.
Coal Tar Bitumen:  ASTM D 450, Type I, or “Coal Tar Bitumen” manufactured by Koppers Co., Inc.



2.
Coat Tar Felt:  Coal tar impregnated glass mat, ASTM D 4490, Type I.  UL Classified.

 USE BELOW FOR UNINSULATED WOOD DECKS.

D.
Underlayment For Uninsulated Wood Deck:



1.
Rosin Paper:  Min weight 4 lb per square.



2.
Asphalt Fiberglass Base Sheet:  Asphalt impregnated glass mat, non-perforated, Type II, ASTM D 4601, Type II.  UL Classified.

2.03
COMPOSITION FLASHINGS


A.
Built-Up Base Flashing:



1.
Asphalt Fiberglass Base Sheet:  Asphalt impregnated glass mat, non-perforated, Type II, ASTM D 4601, Type II.  UL Classified.



2.
Reinforced Cap Sheet:  Reinforced asphalt coated membrane flashing sheet, specifically designed by the manufacturer for use as the top ply of built-up flashings.  UL Classified.



3.
Cap Sheet: Granular surfaced or metal foil faced SBS asphalt elastomer sheet reinforced with polyester fabric, ASTM 6164-00, or with a combination of polyester fabric/fiberglass scrim composite ASTM 6162-00.  



4.
Plastic Cement:  Flashing grade, fibrated asphalt roofing cement, ASTM D 4586.  UL Classified.



5.
Aluminized Coating:  Fibrated bituminous aluminized coating, ASTM D 2824, Type III.  UL Classified.


B.
Coverstrips:

USE THE FOLLOWING THREE PARAGRAPHS ON ASPHALT ROOFS.


2.
Asphalt Felt:  Asphalt coated polyester/fiberglass/polyester reinforced felt.  UL Classified.



2.
Cap Sheet: Granular surfaced or metal foil faced SBS asphalt elastomer sheet reinforced with polyester fabric, ASTM 6164-00, or with a combination of polyester fabric/fiberglass scrim composite ASTM 6162-00.  



3.
Plastic Cement:  Flashing grade, fibrated asphalt roofing cement, ASTM D 4586.  UL Classified.

USE THE FOLLOWING TWO PARAGRAPHS ON COAL TAR ROOFS.


4.
Asphalt Fiberglass Felt:  Asphalt impregnated glass mat, ASTM D 2178, Type IV.  UL Classified.



5.
Plastic Cement:  Coal tar roofing cement without asbestos, ASTM D 4022.  UL Classified.

2.04
INSULATION

INDICATE INSULATION THICKNESSES ON DRAWINGS
ADD THE R VALUE IN THE SPACE BELOW THAT MEETS OR EXCEEDS THE REQUIREMENTS SET FORTH IN THE N.Y.S. ENERGY CONSERVATION CONSTRUCTION CODE.

A.
The total insulation thermal resistance averaged over the entire roof area shall produce an R-___.


B.
The indicated insulation thickness is nominal, allowing for differences in insulating properties of various name brands.  Minor variation in thickness is acceptable, provided the specified thermal value and other requirements of this Contract are met.


C.
Approval of the insulation is contingent upon certification by the membrane manufacturer that the insulation is approved for use with the specified roof system and that the insulation is included in the 10 year full system warranty.

USE PARAGRAPH BELOW WHEN UNIFORM THICKNESS INSULATION IS SHOWN ON THE DRAWINGS.
NOTE: THE LTTR HAS BEEN CHANGED FROM 6.0 TO 5.7 BY THE POLYISOCYANURATE INSULATION MANUFACTURERS ASSOCIATION EFFECTIVE JANUARY 1, 2014. USE THE NEW LTTR IN YOUR INSULATION THICKNESS CALCULATIONS

D.
Uniform Thickness:  Membrane manufacturers approved closed cell isocyanurate foam core insulation skinned on both sides with factory applied fiberglass facers suitable for installation with hot asphalt and cold adhesive.  ASTM C1289-01, Type II, Class 1, Grade 2.  UL Classified and Factory Mutual Approved for direct application over steel deck. Minimum LTTR:  5.7 per inch thickness.

USE PARAGRAPH BELOW WHEN TAPERED INSULATION IS SHOWN ON THE DRAWINGS.  AVAILABLE IN 1/16 TO 1/2 INCH PITCH PER FOOT SLOPE 

E.
Tapered Insulation System:  Membrane manufacturer’s approved 1/4 inch per foot factory tapered closed cell isocyanurate foam core skinned on both sides with factory applied fiberglass facers suitable for installation with hot asphalt or adhesive.  ASTM C1289-01, Type II, Class 1, Grade 2.  UL Classified and factory mutual approved for direct application over a steel deck.  Minimum LTTR:  5.7 per inch thickness.

USE PARAGRAPH BELOW WHEN CRICKETS ARE SHOWN ON THE DRAWING.

F.
Tapered Cricket System:  Membrane manufacturer’s approved asphalt

impregnated 1/2 inch per foot factory tapered wood fiberboard insulation conforming to ASTM C 208.

USE PARAGRAPH BELOW WITH TAPERED INSULATION, AT ROOF DRAIN SUMPS, AND AT RAISED GRAVEL STOPS.

G.
Tapered Edge Strips: Membrane manufacturer’s approved  asphalt

impregnated 1/2 inch per foot factory tapered wood fiberboard insulation conforming to ASTM C 208.


H.
Cant Strips:  Preformed fiberboard, ASTM C 208, or pressure preservative treated Douglas fir or southern pine.

DELETE PARAGRAPH BELOW IF NOT FASTENING UNDERLAYMENT BOARD TO DECK AND INSULATION IS BEING ADHERED.
USE ARTICLE BELOW ON ALL PROJECTS.
2.05
COVERBOARD 

USE PARAGRAPH BELOW ON ALL TYPES OF ROOFING SYSTEMS.  COVERBOARD INSULATION IS ALSO AVAILABLE IN 1/4 INCH THICKNESS.
A.
Coverboard:  1/2 inch thick gypsum roof board composed of a silicone treated gypsum core with fiberglass facers.



1.
Acceptable Product:  “Dens-Deck” by Georgia-Pacific Corporation, Gypsum Division, 133 Peachtree Street, N.E., Atlanta, GA 30303, (800) 225-6119, www.gp.com

2.
Securock Roof Board, 3/8 inch thick by USG, 550 West Adams Street, Chicago, IL 60661-3676, (312)-0436-4000, www.usg.com.



3.
Adhesively Attached Coverboard:  Maximum board size 4 feet x 4 feet.



4.
Mechanically Attached Coverboard:  Minimum board size 4 feet x 8 feet.

USE ARTICLE BELOW ON ALL COMBUSTIBLE DECKS, WHEN USING A VAPOR RETARDER ON COMBUSTIBLE DECKS.  ½ INCH SHOULD BE SPECIFIED FOR WIDE FLUTED METAL DECKS.
2.06
UNDERLAYMENT BOARD 


A.
Underlayment Board:  1/2 inch thick gypsum roof board composed of a silicone treated gypsum core with fiberglass facers.



1.
Acceptable Product:  “Dens-Deck” by Georgia-Pacific Corporation, Gypsum Division, 2861 Miller Road, Decatur, GA 30035, (800) 225-6119, www.gp.com

2.
Securock Roof Board, 3/8 inch thick by USG, 550 West Adams Street, Chicago, IL 60661-3676, (312)-0436-4000, www.usg.com.



3.
Adhesively Attached Underlayment Board:  Maximum board size 4 feet x 4 feet.



4.
Mechanically Attached Underlayment Board:  Minimum board size 4 feet x 8 feet.

2.07
FASTENERS


A.
Fasteners For Securing To Wood Decks:  Annular ring roofing nail with one inch solid cap, “Cap Nail” by Simplex Nails Inc., Americus, Georgia.


B.
Fasteners For Securing To Structural Wood Fiber Decks and Gypsum Decks:  “Tube-Lok Nail” by “Simplex Nails Inc., Americus, Georgia.


C.
Fasteners For Securing To Steel Decks:  Hardened, self-tapping, Phillips panhead screws, coated to resist corrosion, and installed thru 3 inch dia steel plates.  Screw and plate as recommended by the membrane manufacturer and Factory Mutual approved.



1.
Minimum penetration 1/2 inch; minimum pull out resistances from deck 400 lbs.


D.
Fasteners For Securing Membrane Underlayment To Wood Deck On Uninsulated Roofs:  Annular ring roofing nail with one inch solid cap, “Cap Nail” by Simplex Nails Inc., Americus, Georgia.

USE BELOW ONLY ON SLOPES 1/2 INCH PER FOOT OR MORE.

E.
Fasteners For Securing Roofing Membrane To Wood Nailers Or Wood Deck (Slopes 1/2 Inch Per Foot Or More):  Annular ring roofing nail with one inch solid cap, “Cap Nail” by Simplex Nails Inc., Americus, Georgia.


F.
Fasteners For Securing Built-Up Base Flashing:



1.
Wood Surfaces:  Annular ring roofing nail with one inch solid cap, “Cap Nail” by Simplex Nails Inc., Americus, Georgia.



2.
Metal Surfaces:  Hardened, self tapping #10 sheet metal screw thru one inch dia sheet metal disk.



3.
Masonry Surfaces:  Hardened, masonry nail or drive pin, thru one inch dia sheet metal disk.


G.
Insulation Adhesive: Asphaltic urethane adhesive.



1.
Tensil Strength:  200 psi ASTM 412-92



2.
Average T-Peel Strength:  15 lbs ASTM 1876-93



3.
Asbestos content:  None.

2.08
MISCELLANEOUS MATERIALS


A.
Walkway Pads, Splash Pads, Protection Pads:  Homogeneous core of asphalt, plasticizers and inert fillers, bonded by heat and pressure between two saturated and coated sheets of organic felt and coated on top surface with ceramic granules.  Minimum thickness 3/4 inch.  Acceptable products include:



1.
“Carey-tred” by Celotex Corp.



2.
“Sealtight Whitewalk” by W.R. Meadows Inc.



3.
“Roof Walk” by Termastic Construction Materials.



4.
“Roof-Gard” by Humane Manufacturing Co.


B.
Materials For Pitch Pockets:



1.
Mortar:  ASTM C 270, Type S.



2.
Elastomeric Cement:  Non-sag, cold applied, trowel grade, single component rubber elastomer.  Minimum elongation 400 percent.  Acceptable products include:




a.
“Polyroof” by Tremco Manufacturing Co.




b.
“Durok Rubber Cement” by Durok Bldg. Materials.




c.
“AR Elastomeric” by Karnak Chemical Corp.

PART 3   EXECUTION

USE ARTICLE BELOW ON NEW CONSTRUCTION ONLY.
3.01
EXAMINATION


A.
Verify that Work of other trades which penetrates the roof deck or requires workers and equipment to traverse the roof deck has been completed.


B.
Examine surfaces for inadequate anchorage, foreign material, moisture, and unevenness that would prevent the execution, and quality of application, of the built-up roofing system as specified.


C.
Do not proceed with application of built-up roofing system until defects are corrected.

3.02
VERIFICATIONS OF CONDITIONS


A.
Testing Existing Roof Drains and Conductor Pipes:  Before commencing with the Work, water test all existing drains and conductor pipes, submit a written report to the Director’s Representative, indicating which drains or conductors, if any, are not functioning properly.  Repair of existing drains and conductors is not included in the Work.  Repair work (if any) may, at the Director’s option, be accomplished by an Order On Contract.

USE ARTICLE BELOW ON ALL REHABILITATION PROJECTS 
3.03
SURFACE PREPARATION

A.
Ensure roof drain strainers are in place and secured during removal of insulation and other debris. Provide cast iron strainers where existing strainers are missing.

B.
Cleaning:  Before the roofing installation commences, sweep and/or vacuum all surfaces as required to remove all dirt, dust, loose aggregate, foreign matter, and debris left from removals of existing roofing.

3.04
PREPARATION

USE ONE OF THE PARAGRAPHS BELOW.

A.
Repair of Existing Vapor Retarder:



1.
Remove all deteriorated (loose, wet, blistered, torn) portions of the existing vapor retarder so that only sound, firmly bonded felts remain.



2.
Repair defective areas with 2 plies of asphalt fiberglass felt embedded in and coated with hot steep asphalt or interply adhesive.  Lap the felts a minimum of 6 inches beyond the defect.

USE ABOVE FOR ASPHALT VAPOR RETARDERS.  USE BELOW FOR COAL TAR VAPOR RETARDERS.


3.
Repair defective areas with 2 plies of fiberglass felt embedded in and coated with hot coal tar.  Lap the felts a minimum of 6 inches beyond the defect.


B.
Preparation Of Wood Deck:  Cover openings, exceeding 1/4 inch in width, and knot holes with sheet metal nailed securely in place.  Set all protruding nails.  Secure all loose or warped roof boards with nails or screws as required to obtain a firm substrate.

USE ABOVE FOR EXISTING WOOD DECKS.  USE BELOW FOR PRECAST PLANKS.  DELETE “EXPOSED” ON NEW DECKS.

C.
Preparation Of Precast Planks:  Fill all exposed open joints (3/16 inch or over) between precast concrete planks with Portland cement mortar and strike smooth.  Level joints between vertically mis-aligned planks over 1/8 inch with patching mortar.



1.
Seal all exposed joints between edges and ends of precast planks with 6 inch wide strips of asphalt fiberglass felt completely embedded in place with asphalt roof cement.  Lap ends 4 inches.


D.
Priming:  Before application of vapor barrier, apply asphalt primer to concrete deck surface at the rate of one gallon per square.

USE ABOVE BEFORE INSTALLING ASPHALT VAPOR RETARDER ON CONCRETE DECKS.  USE BELOW BEFORE INSTALLING COAL TAR VAPOR RETARDER ON NEW CONCRETE DECKS.

E.
Priming:  Before application of vapor retarder, apply coal tar primer to the concrete deck surface at the rate of one gallon per square.

USE BELOW BEFORE INSTALLING ASPHALT VAPOR RETARDER OVER EXISTING ASPHALT VAPOR RETARDER.

F.
Before application of vapor retarder, apply asphalt primer to existing vapor retarder at the rate of one gallon per square.

DELETE BELOW FOR COLD APPLICATION.
3.05
HEATING BITUMEN


A.
Preparation:



1.
Use separate kettles or tankers for coal tar and asphalt.



2.
The heating process shall be strictly regulated by means of an automatic thermostatic control of an approved type for positive temperature control.  Kettles or tankers shall be the immersion tube type, fired by Liquid LP gas, and shall have 100 percent safety shutoff.



3.
Equip each kettle or tanker with a recording thermometer that will graphically indicate and record on a chart the maximum and minimum temperatures to which materials have been heated.  Recording thermometers shall be capable of accurately recording temperatures as high as 600 degrees F. and as low as 0 degrees F.  The thermometers shall be properly maintained at all times.  Kettles or tankers without recording thermometers in good working condition shall not be used.  At the end of each working day, turn the chart from the thermometer on each kettle or tanker over to the Director’s Representative.  If any bitumen is overheated, remove it from the site in the presence of the Director’s Representative.  If any underheated or overheated bitumen has been applied on the roof, remove that portion of the roof.


4.
Do not locate heating kettles on the roof.  Move hot asphalt onto roofs with hot tanks 55 gallon maximum.


B.
Heating Asphalt Bitumen:



1.
Heat the bitumen in accordance with the Equiviscous Temperature information furnished by the bitumen manufacturer for that specific run of bitumen.




a.
In no case shall the asphalt be heated to or above the actual COC Flash Point (ANSI/ASTM D-92); or the finished blowing temperature for more than 4 hours.




b.
Maintain the temperature of the bitumen at the point of application within the Equiviscous Temperature Range.  Use insulated pipes, buckets, luggers, and other insulated roofers equipment as required by the field conditions.



2.
If the Equiviscous Temperature information is not furnished by the bitumen manufacturer, heat the bitumen as follows unless specifically recommended otherwise in writing by the membrane manufacturer.

EDIT THE NEXT 3 SUBPARAGRAPHS BELOW.



a.
Low Slope Asphalt; Type II:  Do not heat the asphalt above 475 degrees F.  The temperature at the point of application shall be between 350 degrees F and 450 degrees F.




b.
Steep Asphalt; Type III:  Do not heat the asphalt above 500 degrees F.  The temperature at the point of application shall be between 375 degrees F and 475 degrees F.




c.
Special Steep Asphalt; Type IV:  Do not heat the asphalt above 500 degrees F.  The temperature at the point of application shall be between 375 degrees F and 475 degrees F.


C.
Heating Coal Tar Bitumen:



1.
Do not heat the coal tar above the actual COC Flash Point (ANSI/ASTM D-2) or above 425 degrees F maximum.



2.
The temperature of the coal tar bitumen at the point of application shall be between 350 degrees F and 400 degrees F.




a.
Maintain the temperature of the bitumen at the point of application with insulated pipes, buckets, luggers, and other insulated roofers equipment as required by the field conditions.

3.06
INSTALLING UNDERLAYMENT BOARD


A.
Install underlayment board over all combustible decks.

USE SUBPARAGRAPH BELOW WITH STEEL DECKS.


1.
Steel Decks:  Install underlayment board so that the long dimensions, if rectangular, bear directly on bearing surfaces or top flanges.  Do not allow edges of boards to cantilever over open steel deck flutes.  Stagger end joints.  Butt edges and ends snugly.

USE PARAGRAPH BELOW WITH TYPE A ROOFING SYSTEM.

B.
Installing Hot Mopped Underlayment Board:



1.
Install the underlayment board over the deck with the long joints running in a continuous straight line with end joints staggered.  Butt edges snugly so there are no gaps between the boards.



2.
Set each board in a full hot mopping of Type III asphalt applied at the rate of 30 pounds per square.  Press each board into the hot bitumen to a firm and uniform bearing.

USE PARAGRAPH BELOW WITH TYPE B ROOFING SYSTEM.

C.
Installing Underlayment Board With Adhesive:



1.
Clean dust and debris off of existing metal deck to ensure proper adhesive attachment.  Install the underlayment board over the deck with the long joints running in a continuous straight line with end joints staggered.  Butt edges and ends snugly so there are no gaps between the boards.



2.
Set each board in serpentine ribbons of the adhesive applied at the manufacturer’s recommended rate, but no less than 6 inches on center.  Apply boards in accordance with manufacturer’s recommendations.

D.
Installing Mechanically Fastened Underlayment Board:



1.
Install the underlayment board over the deck with the long joints running in a continuous straight line with end joints staggered.  Butt edges and ends snugly so there are no gaps between the boards.


2.
Mechanically attach underlayment board in accordance with FM Loss prevention Data 1-28 including enhanced perimeter and corner fastener spacing. . Set the fasteners with sufficient force to hold the insulation firmly against the deck surface.  Check each fastener to insure that it is securely anchored to the deck, penetrating the top flute only.  Do not allow the fastener to damage the underlayment board.  Remove loose or defective fasteners.

3.07
INSTALLING VAPOR RETARDER


A.
Installing Vapor Retarder Over Concrete Deck Or Existing Vapor Retarder:



1.
Install 2 plies of asphalt fiberglass felt shingle fashion.  Lap plies 19 inches over each preceding ply.

SELECT ONE OF THE FOLLOWING. PARAGRAPHS.


2.
Embed each ply in a solid mopping of hot steep asphalt applied at the rate of 20 lbs per square.  Broom in each ply for complete embedment.



3.
Embed each ply in a solid mopping of hot coal tar bitumen applied at the are of 30 lbs per square.  Broom in each ply for complete embedment.



4.
Embed each ply in solid bed of adhesive applied at the rate of 2.5 gallons per square.  Spray or squeegee the adhesive in accordance with the manufacturers written instructions. Broom in each ply for complete embedment.


B.
Installing Asphalt Vapor Retarder Over Existing Coal Tar Vapor Retarder:



1.
Install one ply of asphalt fiberglass base sheet.  Lap plies 2 inches over each preceding ply.



2.
Embed the base sheet in a solid mopping of hot coal tar bitumen applied at the rate of 30 lbs per square.  Broom in the base sheet for complete embedment.

EDIT HEADING BELOW FOR TYPE OF DECK.

C.
Installing Vapor Retarder Over Wood Deck, Structural Wood Fiber Deck, Or Existing Gypsum Deck:



1.
Install one ply of rosin paper over the deck.  Lap edges and ends 2 inches and fasten with occasional nailing.



2.
Install one ply of asphalt fiberglass base sheet.  Lap plies 2 inches over each preceding ply.



3.
Fasten the base sheet to the deck with fasteners spaced in accordance with the membrane manufacturer’s installation instructions.



4.
Over the base sheet install one ply of asphalt fiberglass felt.  Lap plies 2 inches over each preceding ply.



5.
Embed the fiberglass felt in a solid mopping of hot steep asphalt applied at the rate of 20 lbs per square.  Broom in each ply for complete embedment.


D.
Installing Vapor Retarder Over Steel Deck:



1.
Install one layer of underlayment board over the steel deck.  Install the underlayment board with the long edges running in the same direction as the flutes of the steel deck with edge joints bearing on solid surface of the deck.  Stagger end joints.  Butt edges and ends snugly.  Occasional joint widths up to 1/8 inch will be allowed.



2.
Set fasteners with sufficient force to hold the underlayment board firmly against the deck surface.  Check each fastener to insure that it is securely anchored to the deck.  Remove all loose or defective fasteners.



3.
Over the underlayment board install 2 plies of asphalt fiberglass felt shingle fashion.  Lap plies 19 inches over each preceding ply.



4.
Embed each ply in a solid mopping of hot steep asphalt applied at the rate of 20 lbs per square.  Broom in each ply for complete embedment.


E.
Extend the vapor retarder beyond all edges and openings of the roof so that it can be turned up over the insulation a minimum of 6 inches.



1.
If vapor retarder is punctured, repair immediately with fiberglass felt embedded in hot bitumen.



2.
Install the insulation and roofing membrane immediately (same day) as the vapor barrier is installed.  Where not possible, protect the vapor barrier with a glaze coat of hot bitumen applied at the rate of 15 lbs per square.

3.08
INSTALLING INSULATION


A.
Keep insulation absolutely dry at all times.  Discard insulation that contains moisture.



1.
Install only as much insulation as can be covered with roofing membrane the same day.


2.
Discard boards with broken corners and boards that are warped.



3.
At roof drains, terminate the insulation with tapered edge strips to form a drain sump.



4.
Set all cant strips in a solid application of hot bitumen so they are firmly anchored to the deck and the vertical surface.

EDIT THE FOLLOWING PARAGRAPHS BELOW TO SUIT THE TYPE OF INSULATION AND TYPE OF ATTACHMENT.

B.
Installing Mechanically Attached Insulation: Mechanically attach insulation in accordance with FM Loss prevention Data 1-28 including enhanced perimeter and corner fastener spacing. Set the fasteners with sufficient force to hold the insulation firmly against the deck surface.  Do not allow the fastener to crush the insulation.  Check each fastener to insure that it is securely anchored to the deck.  Remove loose or defective fasteners.

USE SUBPARAGRAPH BELOW ON CONCRETE AND GYPSUM DECKS.
1.
Before installing the fasteners, predrill the correct size hole as recommended by the fastener manufacturer through the insulation and into the deck.  Drill the hole 1/2 inch deeper than the fastener penetration.

C.
Installing Insulation with Asphalt: Set insulation boards, in a full hot mopping of Type III steep asphalt applied at the rate of 30 pounds per square.  Press insulation into the bitumen to a firm and uniform bearing.

D.
Installing Adhesively Secured Insulation: Set each board in cold adhesive applied in accordance with manufacturer’s printed instructions.  Press insulation into the adhesive immediately and as necessary thereafter to assure proper bonding. Maintain pressure on the adhesive until the adhesive has set (20 to 45 minutes).

E.
Installing Ridged Insulation: Install each layer of insulation with joints staggered.  Butt edges and ends snugly so there are no gaps between the insulation boards

F.
Installing Tapered Insulation System: Install the tapered insulation following the manufacturer’s shop drawings and instructions for laying out the tapered insulation system.  Install each layer of insulation with joints staggered over previous layer.  Butt edges and ends snugly so that there are no gaps between the insulation boards.

G.
Install coverboard insulation over the isocyanurate insulation.

H.
Install the cricket insulation over the coverboard insulation.  Cut and fit the cricket insulation in accordance with the manufacturer’s instructions.

3.09
INSTALLING COVERBOARD 

A. Install coverboard over the insulation to provide protection from insulation facer delamination and to provide protection from foot traffic, etc.  Stagger and offset joints of coverboard from the insulation below, staggering end joints.  Butt edges and ends snugly.

USE PARAGRAPH BELOW WITH TYPE A ROOFING SYSTEM.
B.
Installing Coverboard with Asphalt:


1.
Set each board in a full hot mopping of Type III asphalt applied at the rate of 30 pounds per square.  Press each board into the hot bitumen to a firm and uniform bearing.

USE PARAGRAPH BELOW WITH TYPE B ROOFING SYSTEM.
C.
Installing Coverboard with Adhesive:



1.
Set each board in serpentine ribbons of adhesive applied at the rate of 6 inches on center.  Press the board into the adhesive immediately and as necessary thereafter to assure proper bonding.  Maintain pressure on the adhesive until the adhesive has completely set (20 to 45 minutes), or as per the Manufacturer’s recommendations.

USE PARAGRAPH BELOW WITH TYPE C ROOFING SYSTEM.  IT IS PREFERRED TO ADHERE COVERBOARD BYASPHALT OR ADHESIVE TO AVOID THERMAL BRIDGING.

D.
Installing Mechanically Fastened Coverboard:



1.
Loose lay the coverboard over the insulation with the long joints running in a continuous straight line.  Secure the coverboard and the insulation at the same time with the same fastener.



2.
Mechanically attach coverboard in accordance with FM Loss prevention Data 1-28 including enhanced perimeter and corner fastener spacing. Set the fasteners with sufficient force to hold the insulation firmly against the deck surface.  Do not allow the fastener to crush the insulation.  Check each fastener to insure that it is securely anchored to the deck.  Remove loose or defective fasteners.

E.
Install coverboard over the uniform thickness, tapered and cricket insulation.

3.10
INSTALLING BUILT-UP ROOF


A.
Before application of roof membrane, turn vapor barrier over insulation at all edges and openings and embed in a full hot application of bitumen.  At round openings, seal the edges of the insulation with a trowel coat of plastic roof cement.


B.
Installing Built-Up Roof Membrane:

USE SUBPARAGRAPH BELOW UNINSULATED WOOD DECKS ONLY.


1.
Installing Underlayment For Uninsulated Wood Decks:  Install one ply of rosin paper over the deck.  Lap edges and ends 2 inches and fasten with occasional nailing.




a.
Over the rosin paper install one ply of asphalt fiberglass base sheet.  Lap plies 2 inches over each preceding ply.




b.
Fasten the base sheet to the deck with fasteners spaced in accordance with the membrane manufacturer’s installation instructions.

USE BELOW FOR ASPHALT BUILT-UP ROOFS.


2.
Install built-up roof membrane consisting of 4 plies of asphalt felt.  Embed each ply in solid moppings of hot asphalt applied at the rate of 25 lbs per square.

USE BELOW FOR COLD APPLIED BUILT-UP ROOFS.
3.
Install built-up roof membrane consisting of 4 plies of asphalt felt.  Embed each ply in solid bed of adhesive applied at the rate of 2.5 gallons per square.  Spray or squeegee the adhesive in accordance with the manufacturers written instructions.

.USE BELOW FOR COAL TAR BUILT-UP ROOFS.


4.
Install built-up roof membrane consisting of 4 plies of asphalt felt.  Embed each ply in solid moppings of hot coal tar bitumen applied at the rate of 30 lbs per square.

USE BELOW FOR MINERAL SURFACED BUILT-UP ROOFS.


5.
Install built-up roof membrane consisting of 3 plies of asphalt felt and one ply of mineral surfaced cap sheet.  Embed each ply in solid moppings of hot asphalt applied at the rate of 25 lbs per square.

DELETE BELOW ON ALL SLOPES LESS THAN 2 INCH PER FOOT.

C.
Requirements For Back Nailing Felts:



1.
Back Nailing:  On roof slopes 2 inch per foot or more, back nailing of the felts may be required by the roofing membrane manufacturer.




a.
Back nail the felts when required by the manufacturer.




b.
Back nail the felts in strict accordance with the manufacturer’s specification for nailing pattern, and nail spacing.

DELETE BELOW ON UNINSULATED WOOD DECKS.


2.
Wood Nailers:  Nominal 4 inch wide wood nailers, the same thickness as the insulation, are required on all slopes requiring back nailing.




a.
Install the wood nailers at and parallel to, ridges, hips, and eaves.  Between ridges and eaves, install nailers perpendicular or parallel to the roof slope, as required by the manufacturer.




b.
Space the nailers in strict accordance with the manufacturer’s specifications.


D.
Laying Felt:



1.
Start laying felts, using split sheets as necessary to secure the required number of plies and laps.  Provide 10 inch minimum end laps.  Roll all roofing felt not more than 5’-0” behind the mop as it spreads the bitumen, brooming and pressing the felts into the bitumen from the center outwards to the edges so as to insure thorough sticking and a smooth, firm surface, free of blisters, wrinkles, or buckles.



2.
Use three workers for the application of roofing felt as follows; one worker to spread bitumen in front of the roll, one worker to roll out the felt and one worker to smooth out the felt with a stiff street broom or squeegee.  The roofing may be installed with an approved applicating machine and broomed or squeegeed smooth producing an equivalent result.  In no case shall the felt be rolled out dry and then laid into the bitumen.

USE BELOW ON SLOPES OF 1/2 INCH PER FT OR MORE.


3.
Direction Of Felt Run:

USE BELOW ON ALL DECKS EXCEPT UNINSULATED WOOD DECKS.



a.
If back nailing is required by the membrane manufacturer, install the felts perpendicular to the wood nailers.

USE BELOW ON UNINSULATED WOOD DECKS.



b.
If back nailing is required by the membrane manufacturer, install the felts perpendicular or parallel to the roof slopes, as required by the manufacturer.

EDIT THE NEXT 5 SUBPARAGRAPHS BELOW TO SUIT JOB REQUIREMENTS.  COORDINATE WITH DRAWINGS.


4.
Where gravel stops are required, install felt pitch dam as follows:  At the parallel edge to the felt runs, extend the bottom felt 4 inches beyond the roof edge.  Across the end of the felt runs, install a 12 inch wide continuous starter strip, extended 4 inches past the roof edge.  After all plyfelts are installed and edge trimmed, fold the 4 inch extension back over the roof surface  Adhere with hot bitumen and broom smooth, leaving the exposed top surface dry.



5.
Where built-up flashings are required, extend the mopped roofing felts 2 inches beyond the top edge of the cant.



6.
Where sheet metal base flashings are required, turn up mopped roofing felts a minimum of 4 inches on all vertical surfaces or apply additional felt plies.



7.
Where cant type gravel stops (fascia) are required, carry all membrane plies past the edge of the water dam member and cut off flush with the face of the cant.

USE BELOW ON PARTIAL ROOF REPLACEMENT.


8.
Connection to Existing Membrane:  Spud off the existing gravel a min. of 2’-6” down to bare felt surfaces.  Lap the first ply of the roofing membrane over the existing adjacent membrane a minimum of 6 inches.  Lap all other plies over the preceding a minimum of 6 inches.


E.
Phasing of Roofing Membrane Installation:



1.
Phasing of ply felt application will not be allowed in any case.



2.
Where necessitated by job conditions and with approval of the Director’s Representative, a protective glaze coating may be applied as follows:




a.
Apply protective glaze coatings in addition to all other coatings or moppings specified in this Section.  Reduction or omission of specified prime coats, mopped bitumen, flood coats or finish coats in lieu of glaze coatings is not permitted.




b.
Gravel Surfaced Roofs:  If aggregate is not applied the same day, apply glaze coating of hot bitumen at the rate of 15 lbs per square to the completed membrane.

USE ABOVE ON GRAVEL ROOFS, BELOW ON SMOOTH SURFACE ROOFS.



c.
Smooth Surface Roofs:  If permitted under the manufacturer’s specifications, apply glaze coating of hot bitumen at the rate of 15 lbs per square, unless asphalt emulsion is applied the same day.



3.
All exposed felts, regardless of type, must be protected with specified surfacing or glaze coating by the end of each working day.



4.
Continue the installation of roofing materials on the following Work day (weather permitting).  Glaze coated surfaces must be clean and dry to insure complete bonding of felts or coatings.


F.
Temporary Flashings:  Provide a temporary waterproof seal at all membrane edges, penetrations, drains, etc. unless complete flashings are installed immediately (same working day) following the membrane application.


G.
Installing Built-Up Flashings:



1.
Apply asphalt primer to all vertical surfaces before application of built-up flashings.



2.
Install built-up flashing consisting of 2 plies of asphalt fiberglass felt, topped with one ply of reinforced cap sheet.



3.
Cut all felts into strips not longer than 12 feet.  Provide 3 inch minimum end laps.  Stagger all end laps.



4.
Install all plies of built-up flashing in a solid bed of plastic cement.



5.
Fasten the top edge of the built-up flashings 6 inch oc.



6.
Finish the top ply of the built-up flashing with aluminized coating applied at the rate of 1-1/2 gal per square.



7.
Seal top edge with a trowel coat of plastic cement.


H.
Building-in Metal Flashings:

OMIT BELOW IF PROJECT HAS ONLY ONE TYPE ROOF.


1.
Use the following type(s) of plastic cement for building-in metal flashings:




a.
Asphalt Roofs:  Plastic Asphalt Cement.




b.
Coal Tar Roofs:  Plastic Coal Tar Cement.



2.
Embed portions of all metal flashings that extend over the roof surface in plastic cement.



3.
Completely cover all portions of metal flashings that extend over the roof surface with two asphalt fiberglass felt coverstrips, each set in plastic cement.  Provide strips that are at least 8 inch and 12 inches wide respectively.  In all cases, carry the strips past the edge of the metal flange and beyond the edge of the preceding felt 4 inch min.  Coat and surface the top ply to match the adjacent roofing membrane.



4.
At roof drains, install cover strips within the slope to the drain so that they do not impede the flow of water from the roof.

USE BELOW ON GRAVEL SURFACED ROOFS.


5.
At cant type gravel stops coat the top ply of the built-up roofing membrane that extends up the cant with reflective coating applied at the rate of 1-1/2 gal per square.


I.
Filling Pitch Pockets:



1.
Fill bottom half of pitch pocket with cement mortar.  Fill remaining half of pitch pocket with pourable sealer.  Slope surface to shed water.


J.
Installing Walkway Pads/Splash Pad/Protection Pad:



1.
Before application of aggregate, set the pad in a solid bed of plastic cement compatible with the built-up roofing.

USE ABOVE FOR GRAVEL ROOFS, BELOW FOR SMOOTH SURFACE ROOFS.


2.
Before application of aluminized roof coating, set the pad in a solid bed of plastic asphalt cement.

USE BELOW FOR GRAVEL ROOFS.  EDIT AS REQUIRED.

K.
Applying Flood Coat and Aggregate Surfacing:



1.
Embed the surfacing aggregate in a poured flood coating of hot bitumen or cold adhesive.




a.
Apply coal tar at the rate of 75 lbs per square.




b.
Apply asphalt at the rate of 65 lbs per square.




c.
Apply adhesive at the rate of 5 gallons per square.



2.
Apply gravel or crushed stone at the rate of 400 lbs per square.



3.
Apply slag at the rate of 300 lbs per square.



4.
Apply calcite marble chips at the rate of 500 lbs per square.

USE BELOW FOR SMOOTH SURFACED ROOFS.

L.
Applying Asphalt Emulsion Aluminized Coating:



1.
Do not apply asphalt emulsion if rain is imminent within 24 hours.



2.
If required by the approved manufacturer’s specifications, apply a uniform glaze coating of hot asphalt at the maximum rate of 15 lbs. per square before application of asphalt emulsion.



3.
Apply a uniform coating of asphalt emulsion at the rate of 3 gallons per square.



4.
Unless required otherwise by the membrane manufacturer, allow asphalt emulsion to dry thoroughly, a minimum of 15 days, before applying aluminized coating.



5.
Apply aluminized coating at the rate of not less than 1-1/2 gallons per square.

3.11
FIELD QUALITY CONTROL


A.
Field Samples:  Draw a quart sample from each load of bitumen arriving at the job site in the presence of the Director’s Representative who will take it for laboratory analysis.


B.
Test Strip:  When and where directed by the Director’s Representative, and before surfacing is applied to the completed membrane, cut a strip three inches wide by forty inches long thru all plies of the built-up roofing.  One such test strip may be required for every 50 squares of roofing and at least one test on each roof.  After removal of the strip, immediately repair the area by applying the same number of plies of the same kind of felt and bitumen to fill the hole level.  Repeat the same number of plies of the same kind of felt and bitumen over the filled strip with the first ply lapping each edge twelve inches and each succeeding ply lapping the preceding ply by at least three inches on all edges.  Apply surfacing material to match the adjoining roof.  Turn the test strips over to the Director’s Representative.  The Director’s Representative will send the test strips to the Director for examination.


C.
Failure of the bitumen samples or the test strip samples to meet the specification requirements will be cause for rejection of the Work.

END OF SECTION

Updated 07/06/2018
Printed 07/06/2018
075100 - 5
Project No. 


