D&C  CEH:fms

SECTION 087100

FINISH HARDWARE

DO NOT ADD OR OMIT LANGUAGE WITHOUT CHECKING WITH THE OGS HARDWARE TEAM.
SOMETIMES HARDWARE ITEMS ARE FURNISHED BY OTHERS AND INSTALLED UNDER THIS SECTION.  SOMETIMES HARDWARE ITEMS ARE FURNISHED IN THIS SECTION BUT INSTALLED BY OTHERS.  CHECK WITH THE OGS HARDWARE TEAM FOR SPECIFIC LANGUAGE TO COVER SUCH SITUATIONS.
DO NOT ALTER HEADER OR FOOTER.  INSERT OGS PROJECT NUMBER WHERE INDICATED.
PART 1   GENERAL
ARTICLE BELOW SHOULD BE USED SPARINGLY TO AVOID ASSUMING THE CONTRACTOR’S RESPONSIBILITY FOR COORDINATING THE WORK. LIST ONLY ITEMS WHICH MIGHT NORMALLY BE EXPECTED TO BE FOUND IN THIS SECTION, BUT IN FACT ARE SPECIFIED ELSEWHERE. IF THERE ARE NO SUCH ITEMS, DELETE THIS ARTICLE AND RENUMBER THE SUBSEQUENT ARTICLES.
1.01
RELATED WORK IN OTHER SECTIONS

EXAMPLE
A.
Detention Locksets:  Section 11190 Detention Equipment.
FOR DCCS PROJECTS INCLUDE THE PARAGRAPH BELOW:

B.
Mortise Locksets:  Section 012100 Allowances.
1.02
REFERENCES

A.
NFPA 80 Fire Doors and Windows (2007).
B.
NFPA 101 Life Safety Code (2006).
C.
Building Code of New York State (2010).
D.
ICC/ANSI A117.1-2003 Accessible and Usable Buildings and Facilities.
E.
ANSI/BHMA Standard A156.1 Butts and Hinges (2006).
F.
ANSI/BHMA Standard A156.4 Door Controls – Closers (2008).
G.
ANSI/BHMA Standard A156.6 Architectural Door Trim (2005).
H.
ANSI/BHMA Standard A156.7 Template Hinge Dimensions (2009).
I.
ANSI/BHMA Standard A156.8 Door Controls – Overhead Stops and Holders (2005).
J.
ANSI/BHMA Standard A156.13 Mortise Locks and Latches Series 1000 (2005).
K.
ANSI/BHMA Standard A156.16 Auxiliary Hardware (2008).
L.
ANSI/BHMA Standard A156.18 Materials and Finishes (2006).

M.
ANSI/BHMA Standard A156.22 Door Gasketing Systems (2005).
N.
ANSI/BHMA Standard A156.26 Continuous Hinges (2006).
O.
DHI - Door and Hardware Institute.
P.
NAAM Standard HMMA 800-96- Hollow Metal Manufacturers Association.
Q.
NAAM Standard HMMA 831-97 Recommended Hardware Locations for Custom Hollow Metal Doors and Frames.

R.
2010 Standards for State and Local Government Facilities: Title II.
DO NOT MODIFY A, B, C, OR D, IN THE ARTICLE BELOW.
1.03
DEFINITIONS

A.
Architectural Hardware Consultant (AHC): A Door and Hardware Institute certified expert in complex architectural openings requiring advanced knowledge of model building codes and safety standards, ADA requirements, access control knowledge and installation expertise.

B.
Architectural Hardware Distributor: A company that regularly purchases architectural hardware from manufacturers and specializes in the sale, service and support of that hardware to contractors and/or end users.

C.
Company Field Advisor(s):  Hardware manufacturers’ representatives who are certified in writing by manufacturer to be technically qualified in design, installation, and servicing of products.

D.
Installation Supervisor:  Designated supervisor/installer, who has a minimum three years experience in finish hardware installation, and is qualified and responsible to ensure approved finish hardware is installed, adjusted, and operates properly.

CONSIDER OMITTING THE PARAGRAPH BELOW IF THERE ARE LESS THAN 5 (FIVE) OPENINGS. HOWEVER, IF THE OPENINGS ARE COMPLICATED TO INSTALL, LEAVE THE MOCKUP REQUIREMENT IN. IT CAN BE WAIVED DURING THE SUBMITTAL PHASE. CHECK WITH THE OGS HARDWARE TEAM WHEN DECIDING WHAT TO DO.
E.
Benchmark: Finish hardware installed on full size door and frame assembly that is constructed on-site. Benchmarks are constructed to verify qualities of materials and execution; to review coordination between frames, doors, and architectural hardware; to show interface between partitions and frames; and to demonstrate compliance with specified installation tolerances. Benchmarks are not samples. Unless otherwise indicated, approved benchmarks establish the standard by which the Work will be judged. The approved benchmark may be incorporated into the work of this section.
1.04
SUBMITTALS

A.
Waiver of Submittals:  The Waiver of Certain Submittal Requirements in Section 013300 does not apply to this Section.

B.
Re-Evaluation Fee:  In accordance with the General Conditions 07213 Article 4.7.
C.
Submittal Package Cover Sheets:  The Hardware Distributor shall provide a cover sheet, which identifies each package by:

1.
OGS project number.
2.
Project name.
3.
Facility name and location.
4.
Submittal Package name.
5.
Specification section name and number.
6.
Construction Contractor’s company name, address, e-mail address, and 
telephone number.
7.
Finish Hardware Distributor’s company name, address, e-mail address, 
and telephone number.
8.
Certified Architectural Hardware Consultant’s name, company name, 
address, e-mail address, and telephone number.
9.
Submittal Date.
D.
Submittal Packages

QUALITY CONTROL PACKAGE IS REQUIRED FOR ALL PROJECTS. NOTE INFORMATION IS REQUIRED FROM BOTH THE CONSTRUCTION CONTRACTOR (C CONTRACTOR) AND THE DISTRIBUTOR.
1.
Quality Control Package:  Do not submit balance of packages until this package is approved.

a.
Architectural Hardware Consultant Data:

1)
Provide name, business address, and telephone number of DHI certified Architectural Hardware Consultant.

2)
Submit photocopy of Door and Hardware Institute’s certificate demonstrating individual is an Architectural Hardware Consultant.

b.
Company Field Advisor Data:

1)
Provide name, business address, and telephone number of Company Field Advisor(s) for continuous hinges, door bolts, locksets, overhead stops, door closers, and gaskets.

2)
List services and products for which company field advisor(s) is/are certified by manufacturer.  Provide written certifications.

c.
Hardware Distributor’s Qualification Data:

1)
Provide the Finish Hardware Distributor’s company name, address, e-mail address, and telephone number.

2)
Provide the hardware distributor’s company history, including number of years in the hardware distribution business, the number of AHC’s employed, and the number of employees. Describe the distributor’s major market.

3)
Include the names and contact information of physical plant managers for 3 facilities, similar to this project, for which the distributor has furnished architectural hardware within the past 2 years.

d.
Supervisor’s/Installer’s Qualification Data:

1)
Name of Supervisor and each installer performing Work, and employer’s name, business address and telephone number.

2)
Names and addresses, and contact information of physical plant managers for 3 facilities, similar to this project, on which each installer has worked on during past 2 years.

THE FORMAT DESCRIBED BELOW IS REQUIRED TO CREATE CONSISTANCY AND A UNIFORM APPEARANCE. THIS IS AN AID TO THE FIELD, AS WELL AS THE CONTRACTOR DURING THE CONSTRUCTION PHASE.
2.
Finish Hardware Package:
a.
Finish Hardware Schedule:  Use vertical format and indicate finish hardware items, both mechanical and electrical in one document, required to complete Work of this section.  Submit Hardware Schedule that includes complete hardware sets for each door and frame shown on Door Schedule.

1)
Preface schedule with following:

a)
Certified Architectural Hardware Consultant’s statement of preparation of/or certification of, Finish Hardware Schedule.
b)
Index.
c)
List of manufacturers.
d)
List of finishes.
e)
Explanation of abbreviations.
f)
Keying instructions and key schedule.
2)
Create hardware groups, each group consisting of similar doors and hardware.  Do not combine labeled and non-labeled openings.  Do not combine doors and frames with dissimilar door sizes and/or materials.

3)
For each opening include the following:

a)
Door and frame materials and dimensions.
b)
Fire rating.
c)
Door number, location and handing.
d)
Degree of opening required for closer and/or overhead stop.
e)
Installation and detailing notes.
4)
Under each group heading, list hardware items in detail, required for ordering. For each hardware item include:

a)
Type (Hinges).
b)
Quantity (Hinges 3ea).
c)
Manufacturers’ name (Hinges 3ea Stanley).
d)
Catalog number (Hinges 3ea Stanley FBB199).
e)
Size (Hinges 3ea Stanley FBB199 4 ½ x 4 ½ ).
f)
Options or accessories (Hinges HTFBB199 4 ½ x 4 ½ ).
g)
Finish (Hinges HTFBB199 4 ½ x 4 ½ x 630).
h)
Fasteners (Hinges HTFBB199 4 ½ x 4 ½ x 630 x torx with center security pin).
i)
Indicate location of protection plates: Push side or pull side.

j)
Installation Notes, as written in this section, for each hardware group.
5)
Use a separate hardware group in Hardware Schedule that lists attic stock hardware items, key cabinets, key control system, special tools required to install hardware, lubricants, and Operations and Maintenance Manuals.

b.
Product Data:  Furnish six copies of manufacturers’ catalog sheets, specifications, sizing charts, and installation instructions, for each item specified. Highlight information pertaining specifically to product (s) submitted.

c.
Submit samples as requested.

CLOSE OUT SUBMITTALS ARE SENT TO THE FIELD BY THE C CONTRACTOR.
3.
Closeout Submittals Package:  Submit as a complete package.

a.
Operation and Maintenance Manuals:  Furnish 2 hardcover three ring binders with the project name and number displayed on the front cover and spine. Include:

1)
List of Manufacturers.
2)
Approved Finish Hardware Schedule.

3)
Approved Manufacturers’ Product Data Sheets.
4)
Manufacturer’s operation, installation, maintenance, and repair instructions for each type of hardware furnished.
5)
Templates for kind of hardware furnished.
6)
Parts List for each type of finish hardware furnished.
7)
Manufacturers’ dated written warranty for each type of 
finish hardware furnished.
8)
Certifications:  Written certification from Company Field Advisors that their products are installed according to manufacturers’ printed installation instructions, are operating properly, and manufacturers’ written warranty will be in effect upon physical completion of the Work.
9)
Special Tools: List of special tools required to install 
hardware, and their purpose.
b.
Special Tools: 

1)
At conclusion of finish hardware installation, turn over to Director’s Representative 2 of each special tool required to install hardware together with a list of these tools and their purpose.
1.05
TEMPLATES

A.
After receipt of approved submittals, furnish templates to affected trades, to enable fabricators to make provision for finish hardware without delaying the Work of the Project.

1.06
DELIVERY AND STORAGE

A.
Coordinate delivery to avoid delay.

B.
Clearly label each item for identification and installation location as it corresponds to the approved Finish Hardware Schedule and subsequent information bulletins.

C.
Deliver hardware to the jobsite in the manufacturers’ original packages complete with fasteners, parts, installation instructions, and templates required for proper installation.

D.
Inventory hardware at jobsite to identify shortages or backorders. Resolve delivery shortages and damaged items prior to installing hardware.

E.
Store finish hardware where directed by Director’s Representative. Provide locked, dry storage for finish hardware.

1.07
QUALITY ASSURANCE

A.
Hardware Distributor’s Qualification:
1.
Hardware Distributor who has been in the business of furnishing, and/ or installing finish hardware for a minimum of three years.
2.
Hardware Distributor shall have the DHI certified Architectural Hardware Consultant prepare or certify the Finish Hardware Submittal meets specification requirements, and the schedule is written accurately and in accordance with DHI recommendations, and requirements of this specification.

B.
Company Field Advisors:  Employ advisor(s) for continuous hinges, door bolts, mortise locksets, surface overhead stops, door closers, and gaskets.

C.
Installation Supervisor:  Employ a qualified Installation Supervisor who will be responsible to ensure approved finished hardware is installed, adjusted and operates properly.

D.
Installers:  Employ experienced finish hardware installers who have been regularly employed by a Company installing finish hardware for a minimum of 5 years.

PRESUBMITTAL CONFERENCE IS REQUIRED FOR ALL PROJECTS. HOWEVER, THIS REQUIREMENT MAY BE WAIVED BY DESIGN AFTER AWARD BASED UPON THE DISTRIBUTOR’S PREVIOUS PERFORMANCE ON SIMILAR OGS PROJECTS. CHECK WITH THE OGS HARDWARE TEAM FOR GUIDANCE. THE OGS HARDWARE CONSULTANT USUALLY SCHEDULES AND CONDUCTS THIS MEETING BY TELECONFERENCE OR GO-TO-MEETING. THE CONSULTING ARCHITECURAL HARDWARE CONSULTANT ATTENDS.
E.
Pre-submittal Conference:  Before Finish Hardware Submittals are written for submission, the Director’s Representative will call a teleconference to review Finish Hardware Submittal requirements including but not limited to format, cover sheet, headings, hardware sets, level of detail, installation notes, description of operation, keying, and product data sheets. The Contractor, the Finish Hardware Distributor, the Finish Hardware Detailer, and consulting hardware designer, and OGS Designers shall attend. The OGS Finish Hardware Reviewer shall conduct the conference.
F.
On Site Pre-installation Conference: Before finish hardware installation begins, the Director’s Representative will call a conference at the site to review Finish Hardware Specifications, approved Finish Hardware Submittals, and to discuss requirements for the Work including:

1.
Hardware delivery and storage.
2.
Hardware labeling by door number.
3.
Hardware locations.
4.
Potential location conflicts.
5.
Hardware installation sequence and responsibility.
6.
Required accessories and fasteners.
7.
Continuous hinge installation.
8.
Surface overhead stops and closer template and adjustments.
9.
Special tools and maintenance items.
10.
Hardware Closeout requirements.
11.
Hardware Warranties.
G.
Pre-installation Conference Attendance:  The Construction Contractor, Company Field Advisors, authorized Finish Hardware Installers, and the Finish Hardware Distributor’s Architectural Hardware Consultant shall attend the conference. OGS’s Finish Hardware Reviewer conducts the meeting.  OGS designers and facility personnel may attend. The Company Field Advisors will present installation instruction and advice.

H.
Pre-Benchmark-Construction Meeting:  Prior to the construction of the mock-up, a meeting will be held at the site to review the requirements, and discuss the intent of the mock-up. The meeting will be scheduled by the Director’s Representative and conducted by the Hardware Designer. The meeting shall be attended by the Director’s Representative, the Hardware Designer, the Contractor’s onsite foreman, the person supervising this phase of the Work (if different), and the person (people) who will be performing the work.

I.
Construction of Benchmark:  Before installing portions of the Work requiring benchmarks, install benchmarks for each form of construction required to comply with the following requirements, using materials indicated for the completed Work.

INCLUDE THE MOST DIFFICULT HARDWARE INSTALLATION, FOR EXAMPLE:
1.
Build hardware benchmark in door and frame assembly, specified in section 081102, in locations as directed, and include continuous hinge, lockset, closer, surface overhead stop and gaskets.

2.
Notify the Director’s Representative in advance of dates and times when benchmark will be constructed.

3.
Install benchmark with supervisor oversight and workers who will be employed during the construction of the Work.

4.
Construct benchmarks using the exact materials, products, methods, and workmanship that were approved for the Work.

5.
Obtain Director’s Representative’s approval of benchmarks before starting work, fabrication, or construction.

6.
Maintain benchmarks during construction in an undisturbed condition as a standard for judging the completed Work.

7.
Failure to maintain this standard of quality will be cause for rejection of the Work.

8.
Benchmark may be used in the Work unless otherwise indicated.

J.
Uniformity of Hardware and Single Source Responsibility:  For each kind of hardware provide product(s) of a single manufacturer.

K.
Size Variations:  Manufacturers’ products may vary slightly from sizes specified except where minimum size or thickness is specified. 

1.08
WARRANTY

A.
Manufacturer’s Warranty:  Ten year minimum warranty for door closers.

B.
Manufacturer’s Warranty:  Three year minimum for locksets.

1.09
MAINTENANCE

A.
Special Tools:  At the conclusion of finish hardware installation, turn over to Owner’s Representative 2 sets of each special tools required for proper installation and adjustment of hardware, together with a list of these tools and their purpose.

B.
Lubricants:  Provide manufacturer’s recommended lubricants for locksets and closers sufficient for 1 year of maintenance.  Turn over to Director’s Representative.

PART 2   PRODUCTS

2.01
ACCESSORIES

A.
Provide brackets, plates, arms, spacers, and special templates to mount door closers in combination with overhead stops and coordinators, on narrow top rails and for special ceiling and jamb conditions.

THE PARAGRAPH BELOW DESCRIBES AN OGS STANDARD. 
B.
Provide curved lip strikes, with wrought boxes, specific to individual lock functions. Universal strikes that fit a variety of lock functions are not acceptable.

2.02
FASTENINGS
A.
Provide fasteners that harmonize with finish hardware material and finish.

TORX FASTENERS ARE REQUIRED FOR DCCS, OMH, AND OCFS PROJECTS. CHECK WITH OGS HARDWARE TEAM FOR SPECIFIC REQUIREMENTS FOR OTHER AGENCIES.
B.
Provide torx center pin security fasteners for exposed hardware, including full mortise hinges.

C.
Provide machine screws for hardware secured to metal; and machine screws and metal expansion shields for attachment to masonry substrates. Self-tapping or self-drilling screws are not acceptable.

D.
Provide undercut shallow head torx center pin security fasteners where necessary for proper seating.

E.
Attach door closers and overhead stops with sex bolts.

2.03
MATERIALS AND FINISHES

A.
General:  Requirements for design, grade, function, finish, size, and other distinctive qualities of each type of finish hardware are indicated in this section and in the Hardware Groups.
VERIFY THE CONTINUOUS HINGES YOU PLAN TO SPECIFY MEET THE FOLLOWING REQUIREMENTS.  CONTINUOUS HINGES ARE PREFERRED OVER BUTT HINGES BY DCCS, OMH, AND OCFS.
B.
Continuous Hinges

1.
Full height barrel-type manufactured from 14-gauge 304 stainless steel.

2.
.25” diameter stainless steel pins.

3.
Provide hinges without covers.

SPECIFY MORTISE LOCKSETS. DO NOT SPECIFY CYLINDRICAL LOCKSETS WITHOUT WRITTEN APPROVAL FROM THE OGS HARDWARE TEAM.
C.
Locks, Latches and Bolts

1.
Comply with UL requirements for throw of bolts and latch bolts on rated fire openings.

2.
Provide 3/4” minimum throw on other latch bolts.

3.
Provide 1” minimum throw deadbolts.

VERIFY THE CLOSERS YOU PLAN TO SPECIFY MEET THE FOLLOWING REQUIREMENTS. NON-SIZED CLOSERS MAY BE ACCEPTABLE DEPENDING UPON THE CLIENT. CHECK WITH THE OGS HARDWARE TEAM.
D.
Closers and Door Control Devices

1.
Closer bodies:  Provide closer bodies with the same hole template pattern regardless of type or application.

2.
Closer arms:  Non-handed forged steel.

3.
Closer size:  Provide sized closers.

4.
Provide all-weather fluid to eliminate seasonal adjustment of closer speed.

5.
Powder coat closer body, arm, and adapter plate or pre-treat closer body, arm, and adapter plate with rust-inhibiting coating before painted finish is applied.

2.04
FINISH HARDWARE
FOR DCCS PROJECTS, LOCKSETS ARE SPECIFIED BY ALLOWANCE. ON LOCKSET LINE, SPECIFY THE FOLLOWING IN EACH HARDWARE SET:
EXAMPLE:
3.
MORTISE LOCKSET BY ALLOWANCE:
LIST DOOR NUMBERS IN THE HARDWARE SCHEDULE.  DO NOT LIST DOOR NUMBERS HERE.

SPECIFY HARDWARE IN THE ORDER OF INSTALLATION.

EXAMPLE
A.
Group 1:  Install surface overhead stop; then install closer.  Install lock strike; then install meeting stile gasket on edge of inactive leaf, offset towards push side.
1.
Continuous Hinge:  2ea – Zero 919 STST x HT x marked “Top” x torx with center security pin x 630.
2.
Combination Flush Bolt Set:  1set - Rockwood 1845 x torx with center security pin x 626.
3.
Mortise Lockset:  1ea - Corbin Russwin ML2022 x YWM x curved lip strike x wrought box x torx with center security pin x 630.
4.
Mortise Lock Cylinder:  2ea - Compatible with specified lock above x 626.
5.
Coordinator:  1ea - Rockwood 1660 x torx with center security pin x black prime.
6.
Coordinator Mounting Bracket:  3ea - Rockwood 1601AB or 1601C, per soffit size x torx with center security pin x black prime.
7.
Closer:  1ea – LCN 4213 x SRI x thru-bolt x torx with center security pin x AL (LH active leaf). 

8.
Closer:  1ea – LCN 4213 x ST3456 arm x SRI x thru-bolt x torx with center security pin x AL (RH inactive leaf).  See installation note.
9.
Kick Plate:  2ea – Rockwood K1062 10” x 1 ½” LDW x B4E x torx with center security pin x 630.
10.
Mop Plate: 2ea – Rockwood K1062 4” x ½” LDW x B4E x torx with center security pin x 630.
11.
Overhead Stop:  1ea - Glynn Johnson 813S x thru-bolt x torx with center security pin x 630 x inactive leaf only.  See installation note.
12.
Wall stop:  1ea – Rockwood 400/402 as required x torx with center security pin x 626.
13.
Meeting Stile Smoke Gaskets: 1ea – DHSI SA x anti-ligature x duranodic.  See installation note.
14.
Smoke Seals:  1set – DHSI CNS105 x anti-ligature x dark brown.
EXAMPLE
B.
Group 2:

1.
Continuous Hinge:  1ea – Zero 919 STST x HT x marked “Top” x torx with center security pin x 630.
2.
Mortise Lockset:  1ea - Corbin Russwin ML2022 x YWM x curved lip strike x wrought box x torx with center security pin x 630.
3.
Mortise Lock Cylinder:  2ea - Compatible with specified lock above x 626.
4.
Closer:  1ea – LCN 4513T x SRI x thru-bolt x torx with center security pin x AL.
5.
Kick Plate:  1ea – Rockwood K1062 10” x 1 ½” LDW x B4E x torx with center security pin x 630.
6.
Mop Plate:  1ea – Rockwood K1062 4” x ½” LDW x B4E x torx with center security pin x 630.
7.
Overhead Stop:  1ea – Glynn Johnson 814S x thru-bolt x torx with center security pin x 630.
EXAMPLE
C.
Group 3:

1.
Electric Wire-thru Hinge with Concealed Monitor Switch:  1 - Stanley CECS FBB199HT 5 x 4.5 x 630 -10 x torx.  See Installation Note.

2.
Electric Hinge Junction Box and Mortar Shield:  1 – Stanley JB-2.  See Installation Note.

3.
Hinges:  5 ea – Stanley FBB199HT 5 x 4.5 x 630 x torx.

4.
Power Supply, Interface Controller, and Card Reader :  By Electric Contract.

5.
Electromagnetic Lockset:  1 - ea Locknetics 391 MBS1 x US28. See Installation Note.

6.
Electric Lockset:  4 – ACSI M1520C-AE-LM-AM-1 x Corbin Russwin ML20905 x /24VDC PSM x curved lip strike x wrought box strike x torx x 630.

7.
Closer:  1 –LCN  4213 x MC x torx x AL.

8.
Threshold:  1 ea Zero  545A x torx.
9.
Gaskets:  1 - set DHSI CNS 105 x adhesive x Brown.

10.
Door Bottom:  1 – Zero 39A x torx x AL.

HARDWARE SETS WITH ELECTRIC HARDWARE ALWAYS REQUIRE AWRITTEN DESCRIPTION OF OPERATION BELOW EACH HARDWARE SET.
EXAMPLE
DESCRIPTION OF OPERATION

Normal Operation:  Doors are normally closed and locked by fail secure mortised electric lock on active leaf and automatic flushbolts on inactive leaf. Electric wire thru monitor hinge conducts power to electric lock and indicates door open/door closed. Lockset’s outside trim is unlocked when power is applied and locked when power is removed. Upon authorization by Card reader, outside lever is unlocked and rotating lever retracts latchbolt for entry. Inside lever is always free for egress and contains a switch (REX) which monitors activation of the inside trim, and sends a signal to power the magnetic locks and interlock the designated doors when one door is opened. The electric mortise lock contains latchbolt monitoring for full extension of main latch and auxiliary monitoring for solenoid status (locked/unlocked) and deadlatch position.
Interlock:  Doors are electrically interlocked by magnetic locks so that only one opening can be unlocked from the locked closed position at any time. Refer to the Interlocked Door Schedule on the Contract Drawings for requirements.

Emergency Operation:  Doors are normally closed and locked by fail secure mortised electric lock and automatic flushbolts. In the event of power failure or fire alarm activation outside lever trim remains locked.
Free egress at all times.  Pulling emergency release station adjacent to opening releases that opening’s electromagnetic lockets if electromagnetic locksets are energized (locked).

Installation Note:  Install electric hinges and junction boxes in middle hinge position
EXAMPLE
D.
Group 4:  Furnish a quantity of 1 (one) as follows:

1.
50 Key Blanks to match existing key system.
2.
1 set Special Tools:  See paragraph 1.09 A.

3.
Lubricants:  See paragraph 1.09 B.

4.
2ea Maintenance and Operations Manuals.
DCCS DOES NOT ALLOW TOP LEVEL KEYING.  NO GRANDMASTER KEYING NOR CONSTRUCTION MASTER KEYING IS PERMITTED BY DCCS.

KEYING REQUIREMENTS ARE CUSTOMIZED FOR EACH PROJECT.
SOME FACILITIES WILL REQUEST UNCOMBINATED CYLINDERS/CORES, WITH SUFFICIENT DRIVERS, PINS, SPRINGS AND CAPS TO DO THEIR OWN KEYING.

CHECK WITH THE OGS HARDWARE TEAM FOR EACH PROJECT.

THE PARAGRAPH BELOW IS AN EXAMPLE.
2.05
KEYING

CHECK WITH FACILITY’S LOCKSMITH AND FILL IN CYLINDER MANUFACTURER’S NAME IN BLANK BELOW AND DELETE UNDERLINE.
A.
Continue existing _____________ key system established for Facility.

1.
Stamp key symbol on one side of key, and “Do Not Duplicate” on other 
side of key. 

3.
Furnish one copy of factory bitting list to facility.

4.
Factory key cylinders.

5.
Furnish 3 cut keys for each master key.

6.
Furnish 7 cut keys for each keyed lockset.

7.
These cut key quantities are for bidding purposes only.  Actual number 
of cut keys required will be determined at keying meeting.

8.
When lockset and cylinder are by different manufacturers, identify and 
furnish correct cylinder cam to operate lockset.

9.
Provide compression rings and spacers to achieve proper spacing 
relationship between cylinder and face of door.

B.
Keying Conference

1.
Immediately following contract award, Director’s Representative 
will schedule a keying conference to develop a written key 
schedule that reflects Facility’s specific keying requirements. 

Facility Representative(s), Hardware Distributor, Consulting Hardware Designer, and OGS’s Hardware Designer will attend.

2.
Incorporate this schedule in Finish Hardware Submittals for approval.

PART 3   EXECUTION

3.01
EXAMINATION

A.
Examine doors and frames and related items for conditions such as, but not limited to, incorrect handing, hardware preparation, misaligned lock and strike preparations, that would prevent proper application of finish hardware. Do not proceed until defects are corrected.

B.
Report conditions or hardware applications that are incorrect to the Director’s Representative. 
DELETE ANY INSTRUCTION WHICH DOES NOT APPLY TO A PARTICULAR PROJECT.
3.02
INSTALLATION

A.
Do not proceed with installation of finish hardware prior to attending referenced 
pre-installation conference.

B.
Installation Sequence: Use proper installation sequence, i.e., install coordinators, and overhead stops and holders before surface mounted door closers.

C.
Install hardware in accordance with manufacturer’s printed installation instructions, and adjust for smooth operation, free of sticking, binding or rattling.

1.
Template surface overhead stops and holders for proper operation

2.
Template and adjust closers for proper operation.

D.
Use proper tools and methods to prevent scratches, burrs or other defacement.

E.
Threshold Installation:

1.
Drill holes 3 inches from each end of threshold and intermediate holes 12 inches maximum o.c. for required fasteners.  Prepare holes for countersunk fasteners.

2.
Level and align thresholds with frames and doors.  Where required, use non-corrosive shims.

3.
Exterior Doors:  Set thresholds in a solid bed of Type 3 sealant.

4.
Secure thresholds to substrate with countersunk fasteners.

F.
Door Bottom Installation:

1.
Mount sweep type door bottom protection/drip caps on exterior side of doors.

2.
Before mounting apply Type 2 sealant on the back side of bearing surface.  Secure to door with required fasteners.

G.
Gasket Installation:

1.
Install continuous stripping at each opening without unnecessary interruptions.

2.
Where fasteners are required, secure fasteners for stripping and seals so they will not work loose during door operation.  Exposed heads of fasteners shall be free of sharp edges.

3.
Coordinate meeting stile gasket with hardware before installation.

4.
Install units plumb and level at the optimum location to maintain a permanent effective seal.

H.
After installation, cover and protect hardware to prevent damage during remaining construction.  Remove protection upon completion of construction.

3.03
LOCATIONS

ADD ONLY FIELD LOCATED HARDWARE BELOW. HINGE AND LOCK LOCATIONS ARE DETERMINED BY THE STEEL DOOR/FRAME MANUFACTURER AND THEREFORE ARE NOT MENTIONED HERE.
A.
Locate hardware as follows:

1.
Door Closers:  Template for maximum door swing allowed by wall placement and jamb conditions. Where overhead stop prevents door from swinging to wall, template the closer to exceed degree of opening allowed by overhead stop.
2.
Protection Plates:  1/8 inch from door bottom.

3.
Wall Stops:  Centerline of bumper to match centerline of locking trim.

3.04
FIELD QUALITY CONTROL

A.
Post Installation Review:  After hardware is adjusted for proper operation, Director’s Representative will hold a Post-Installation Review with the Contractor, Hardware Designer, Company Field Advisors, Hardware Distributor and Hardware Installers.

1.
Physically inspect to verify proper application, installation, adjustment and operation of finish hardware, and in particular that:

a)
Latches engage freely without binding. Filing of strike plates to relieve latch bind is not acceptable.

b)
Closers are adjusted for proper spring power; sweep speed, latching speed; and hydraulic back check.

c)
Locations and proper attachment of installed protective hardware are as specified.

d)
There is no field modification of fasteners.

e)
Damaged fasteners are replaced.

2.
Defective hardware is repaired or replaced.

3.
Hardware is to be left clean and free from disfigurement.

B.
Turn referenced Operations and Maintenance Manuals over to Facility through Director’s Representative.

END OF SECTION

REPLACE THE INITIALS BELOW WITH THE AUTHOR’S INITIALS.
CEH
Updated 02/13/2012
Printed 4/16/2015
087100 - 2
Project No. 


