SECTION 344113 – TRAFFIC SIGNS

GENERAL

SUMMARY

Section Includes:

Traffic Signs.

REFERENCES

DOT

DOT Section 645 – SIGNS.

SUBMITTALS

Submittals in this section are subject to the re-evaluation fee identified in Article 4 of the General Conditions.

Manufacturer’s installation instructions shall be provided along with product data.

Submittals shall be provided in the order in which they are specified and tabbed (for combined submittals).

Shop Drawings:  Show shop drawings, not necessarily to scale, but sufficient enough in detail to show color, wording, lettering size and style, overall sign size, construction details and installation details for each type of sign.

PRODUCTS

TRAFFIC SIGNS

Construction Materials:  Comply with the applicable requirements of DOT Section 645.

Posts:  Galvanized steel.

EXECUTION

INSTALLATION

Erect signs in their designated locations, as indicated and in accordance with the approved shop drawings and the applicable requirements of DOT Section 645.

Protect surfaces and finishes from abrasion and other damage during handling and installation.

Replace damaged or faulty signs.

END OF SECTION 344113