SECTION 444226 - COMMINUTOR

1. GENERAL
   * + 1. RELATED WORK SPECIFIED ELSEWHERE
          1. Wiring for Motors and Motor Controllers: Section 260523.
          2. Motors and Motor Controllers: Section 260221.
       2. QUALITY ASSURANCE
          1. Acceptable Manufacturer: Chicago Pump Co., Model 7B.
       3. SUBMITTALS
          1. Submittals for this section are subject to the re-evaluation fee identified in Article 4 of the General Conditions.
          2. Manufacturer’s installation instructions shall be provided along with product data.
          3. Submittals shall be provided in the order in which they are specified and tabbed (for combined submittals).
          4. Shop drawings and manufacturer’s descriptive literature and performance specification.
          5. Maintenance data and operating instructions.
2. PRODUCTS
   * + 1. MATERIALS
          1. Enclosure - cast iron.
          2. Cutting teeth - stellite.
          3. Motor and Motor Controller - Section 260221 - 2 HP, 3 Phase, 200 V.
          4. Overload protection.
3. EXECUTION
   * + 1. INSTALLATION
          1. Install as shown.
          2. Place and test as required for approved operating condition.

END OF SECTION 444226